## CFDNA PT DATA
Newborn Screening Quality Assurance Program
| PT Quarter 3 - 2019 |  | Date Issued: June 25, 2019 Data Deadline: July 30, 2019* |  |  | Email your completed worksheet to Irene Williams at NSQAPDMT@cdc.gov. Phone number: 770-488-7024
THE FOLLOWING INFORMATION IS REQUIRED TO RECEIVE YOUR LABORATORY EVALUATION:
**LABORATORY CODE:
CONTACT PERSON:
EMAIL:
METHOD CODE (PRIMARY) click on the cell to use drop down arrow:
METHOD CODE (SECONDARY/CONFIRMATORY) click on the cell to use drop down arrow:
IF METHOD CODE IS OTHER, SPECIFY:
DESCRIPTION OF HOW SECONDARY/CONFIRMATORY METHOD IS UTILIZED click on the cell to use drop down arrow:
IF DESCRIPTION OF SECONDARY METHOD UTILITY IS OTHER, PLEASE SPECIFY:
IF NOT USING A COMMERCIALLY AVAILABLE GENOTYPING PANEL, SPECIFY VARIANTS YOU DETECT:
FOR GENE SEQUENCING METHODS, SPECIFY EXONS/REGIONS SEQUENCED:
EXTRACTION METHOD click on the cell to use drop down arrow:
*IF EXTRACTION METHOD IS OTHER, PLEASE SPECIFY:
MUTATION DETECTION DATA click on the cell to use drop down arrow:
| Specimen ID | Allele 1 | Allele 2 |  | Clinical Assessment* |  | Comments
319C1
319C2
319C3
319C4
319C5
Attestation Statement: I attest that Proficiency Testing samples were tested in the same manner as patient specimens. (For your copy only as required by CLIA, CAP or both).
| Signature |  |  | Date |  |  |  | Signature |  | Date
*Late data will not be accepted after the data-reporting deadline has passed. To remain active in NSQAP, you must submit data once per year for each program you are enrolled. If you miss the data-reporting deadline for this quarter, be sure to report results for another PT event within the data-reporting period to remain active. If data are not reported, NSQAP encourages you to conduct a self-evaluation.
**Participating laboratories must generate and submit their own results and must not share NSQAP PT test results or specimens with any other laboratory under ANY circumstance, even if the laboratory normally sends specimens to referral laboratories for routine or confirmatory testing. If participants are found to have falsified or shared results, the NSQAP committee will convene do discuss response actions for the participant which may include termination from the program.
Select Clinical Assessment Code:
1 (Screen Negative-Normal)
2 (Screen Positive- 1 or 2 variants)
CF Method Code List | [8 empty] | Variant List
CF1-GenMark Cystic Fibrosis Genotyping | [8 empty] | No variants detected
CF3-Luminex Molecular Diagnostics xTAG CF - ACMG only | [8 empty] | A455E (c.1364C>A)
CF4-Luminex Molecular Diagnostics CFTR IVD 39 v2 | [8 empty] | A559T (c.1675G>A)
CF5-Luminex Molecular Diagnostics xTAG CF 60 v2 | [8 empty] | CFTR dele2, 3 (c.54-5940_273+10250del21kb)
CF6-Luminex Molecular Diagnostics xTAG CF 71 v2 | [8 empty] | D1152H (c.3454G>C)
CF7-Luminex Platform and Laboratory Developed Test | [8 empty] | D1270N (c.3808G>A)
CF8-Elucigene Diagnostics CF4v2 | [8 empty] | E60X (c.178G>T)
CF9-Elucigene Diagnostics CF29v2 | [8 empty] | Exon 2del [(?-54)_(164-?)del]
CF10-Elucigene Diagnostics CF30v2 | [8 empty] | Exon 17a-17b-18del [(?_2989)_(3468_?)del]
CF11-Elucigene Diagnostics CF-EU2v1 | [8 empty] | F311del (c.933_935delCTT)
CF12-Abbott Molecular CF Genotyping Assay v3 | [8 empty] | F508C (c.1523T>G)
CF13- Inno–LiPA Strip 17 | [8 empty] | F508del (c.1521_1523delCTT)
CF14- Inno–LiPA Strip 19 | [8 empty] | G85E (c.254G>A)
CF15-Inno–LiPA Strips 17+19 | [8 empty] | G542X (c.1624G>T)
CF16-Sequenom HerediT CF assay | [8 empty] | G551D (c.1652G>A)
CF17-Sequenom assays other than HerediT CF (MALDI-TOF Mass Spectrometry) | [8 empty] | I507del (c.1519_1521delATC)
CF18-ViennaLab Diagnostics GmbH CF StripAssay, GER | [8 empty] | L206W (c.617T>G)
CF19-ViennaLab Diagnostics GmbH CF StripAssay (4-410) | [8 empty] | L467P (c.1400T>C)
CF20-Allele-specific Oligonucleotide PCR | [8 empty] | L967S (c.2900T>C)
CF21-High Resolution Melt Technology | [8 empty] | M1101K (c.3302T>A)
CF22-Real-time PCR Allelic Discrimination Assay (ie TaqMan) | [8 empty] | M1101R (c.3302T>G)
CF23-In-house Amplification Refractory Mutation System | [8 empty] | N1303K (c.3909C>G)
CF24-In-house single nucleotide primer extension assay (SNuPe) | [8 empty] | P205S (c.613C>T)
CF25-PCR/Heteroduplex Analysis/Gel Electrophoresis | [8 empty] | Q39X (c.115C>T)
CF26-Capillary Electrophoresis | [8 empty] | Q493X (c.1477C>T)
CF27-Amplification and Restriction Fragment Length Polymorphism Analysis (PCR-RFLP) | [8 empty] | Q890X (c.2668C>T)
CF28-Amplification and Polyacrylamide Gel Electrophoresis (PCR-PAGE) | [8 empty] | R75X (c.223C>T)
CF29-Next Gen Sequencing - Illumina MiSeqDx 139 Variant Assay | [8 empty] | R117H (c.350G>A)
CF30-Next Gen Sequencing - Multiplicom Molecular Diagnostics CFTR MASTR v2 | [8 empty] | R334W (c.1000C>T)
CF31-Next Gen Sequencing - Ion AmpliSeq CFTR Community Panel | [8 empty] | R347P (c.1040G>C)
CF32-All other gene sequencing protocols including Sanger and Next Gen | [8 empty] | R553X (c.1657C>T)
CF33-Astra Biotech CFcheck DE-31 | [8 empty] | R560T (c.1679G>C)
CF34-Devyser CFTR Core | [8 empty] | R1066C (c.3196C>T)
CF35-Agena Bioscience iPLEX Pro CFTR Panel (72 mutations) | [8 empty] | R1066H (c.3197G>A)
CF36-In-house Hydrolysis Probe Assay | [8 empty] | R1158X (c.3472C>T)
CF37-Swift Biosciences Accel-Amplicon CFTR Panel | [8 empty] | R1162X (c.3484C>T)
CF99-Other - Please specify | [8 empty] | S492F (c.1475C>T)
S1235R (c.3705T>G)
S549N (c.1646G>A)
Utilization of Secondary/Confirmatory Methods | [8 empty] | W1089X (c.3266G>A)
M1 - Secondary method confirms variants detected by the primary method (no new variants will be identified) | [8 empty] | W1204X (c.3611G>A or c.3612G>A)
M2 - Secondary method confirms variants detected by the primary method and may find additional new variants in the secondary panel | [8 empty] | W1282X (c.3846G>A)
M3 - Use both the primary and secondary methods to detect variants found on both panels | [8 empty] | Y1092X (c.3276C>A or c.3276C>G)
M4 - Other -please describe below | [8 empty] | 124del23bp (c.-9_14del23)
394delTT (c.262_263delTT)
621+1G >T (c.489+1G>T)
663delT (c.531delT)
Extraction Methods | [8 empty] | 711+1G>T (c.579+1G>T)
X1 Qiagen QIAamp spin columns (manual or robotic) | [8 empty] | 935delA (c.803delA)
X2 Qiagen magnetic bead kit (EZ1 or BioSprint 96) | [8 empty] | 1154insTC (c.1022_1023insTC)
X3 Qiagen Generation DNA Purification & DNA Elution Solutions (also sold as 5 Prime Easy PCR Solutions 1 & 2) | [8 empty] | 1288insTA (c.1153_1154dupAT)
X4 Sigma Aldrich Extract-N-Amp | [8 empty] | 1677delTA (c.1545_1546delTA)
X5 in-house alkaline lysis prep | [8 empty] | 1717-1G>A (c.1585-1G>A)
X6 in-house boiling prep | [8 empty] | 1812-1G>A (c.1680-1G>A)
X7 in-house lysis boil prep | [8 empty] | 1898+1G>A (c.1766+1G>A)
X8 ViennaLab GenXtract | [8 empty] | 2055del9>A (c.1923_1931del9insA)
X9 Perkin Elmer/Chemagen Chemagic kit | [8 empty] | 2105-2117del13insAGAAA (c.1973_1985del13insAGAAA)
X10 in-house Chelex method | [8 empty] | 2183AA>G (c.2051_2052delAAinsG)
X19 Other-please describe below | [8 empty] | 2184delA (c.2052delA)
2184insA (c.2052dupA)
Use of trade names is for identification only and does not imply endorsement by the Public Health Service, the U.S. Department of Health and Human Services, or the Association of Public Health Laboratories. | [8 empty] | 2789+5G>A (c.2657+5G>A)
3120+1G>A (c.2988+1G>A)
3121-1G>A (c.2989-1G>A)
3272-26A>G (c.3140-26A>G)
3659delC (c.3528delC)
3791delC (c.3659delC)
3876delA (c.3744delA)
3849+10kb C>T (c.3717+12191C>T)
3905insT (c.3773dupT)
Cystic Fibrosis DNA Variant Detection Proficiency Testing (CFDNAPT)

## Sheet1
Legacy (HGVS DNA) | Legacy (HGVS protein or DNA)
Variant List | Variant List
No variants detected | No variants detected
A455E (c.1364C>A) | A455E (p.Ala455Glu)
A559T (c.1675G>A) | A559T (p.Ala559Thr)
CFTR dele2, 3 (c.54-5940_273+10250del21kb) | CFTR dele2, 3 (c.54-5940_273+10250del21kb)
D1152H (c.3454G>C) | D1152H (p.Asp1152His)
D1270N (c.3808G>A) | D1270N (p.Asp1270Asn)
E60X (c.178G>T) | E60X (p.Glu60X)
Exon 2del [(?-54)_(164-?)del] | Exon 2del [(?-54)_(164-?)del]
Exon 17a-17b-18del [(?_2989)_(3468_?)del] | Exon 17a-17b-18del [(?_2989)_(3468_?)del]
F311del (c.933_935delCTT) | F311del (p.Phe311del)
F508C (c.1523T>G) | F508C (p.Phe508Cys)
F508del (c.1521_1523delCTT) | F508del (p.Phe508del)
G85E (c.254G>A) | G85E (p.Gly85Glu)
G542X (c.1624G>T) | G542X (p.Gly542X)
G551D (c.1652G>A) | G551D (p.Gly551Asp)
I507del (c.1519_1521delATC) | I507del (p.Ile507del)
L206W (c.617T>G) | L206W (p.Leu206Trp)
L467P (c.1400T>C) | L467P (p.Leu467Pro)
L967S (c.2900T>C) | L967S (p.Leu967Ser)
M1101K (c.3302T>A) | M1101K (p.Met1101Lys)
M1101R (c.3302T>G) | M1101R (p.Met1101Arg)
N1303K (c.3909C>G) | N1303K (p.Asn1303Lys)
P205S (c.613C>T) | P205S (p.Pro205Ser)
Q39X (c.115C>T) | Q39X (p.Gln39X)
Q493X (c.1477C>T) | Q493X (p.Gln493X)
Q890X (c.2668C>T) | Q890X (p.Gln890X)
R75X (c.223C>T) | R75X (p.Arg75X)
R117H (c.350G>A) | R117H (p.Arg117His)
R334W (c.1000C>T) | R334W (p.Arg334Trp)
R347P (c.1040G>C) | R347P (p.Arg347Pro)
R553X (c.1657C>T) | R553X (p.Arg553X)
R560T (c.1679G>C) | R560T (p.Arg560Thr)
R1066C (c.3196C>T) | R1066C (p.Arg1066Cys)
R1066H (c.3197G>A) | R1066H (p.Arg1066His)
R1158X (c.3472C>T) | R1158X (p.Arg1158X)
R1162X (c.3484C>T) | R1162X (P.Arg1162X)
S492F (c.1475C>T) | S492F (p.Ser492Phe)
S1235R (c.3705T>G) | S1235R (p.Ser123Arg)
S549N (c.1646G>A) | S549N (p.Ser549Asn)
W1089X (c.3266G>A) | W1089X (p.Trp1089X)
W1204X (c.3611G>A or c.3612G>A) | W1204X (p.Trp1204X)
W1282X (c.3846G>A) | W1282X (p.Trp1282X)
Y1092X (c.3276C>A or c.3276C>G) | Y1092X (p.Tyr1092X)
124del23bp (c.-9_14del23) | 124del23bp (c.-9_14del23)
394delTT (c.262_263delTT) | 394delTT (p.Leu88IlefsX22)
621+1G >T (c.489+1G>T) | 621+1G >T (c.489+1G>T)
663delT (c.531delT) | 663delT (p.Ile177MetfsX12)
711+1G>T (c.579+1G>T) | 711+1G>T (c.579+1G>T)
935delA (c.803delA) | 935delA (p.Asn268IlefsX17)
1154insTC (c.1022_1023insTC) | 1154insTC (p.Phe342HisfsX28)
1288insTA (c.1153_1154dupAT) | 1288insTA (c.1153_1154dupAT)
1677delTA (c.1545_1546delTA) | 1677delTA (p.Tyr515X)
1717-1G>A (c.1585-1G>A) | 1717-1G>A (c.1585-1G>A)
1812-1G>A (c.1680-1G>A) | 1812-1G>A (c.1680-1G>A
1898+1G>A (c.1766+1G>A) | 1898+1G>A (c.1766+1G>A)
2055del9>A (c.1923_1931del9insA) | 2055del9>A (c.1923_1931del9insA)
2105-2117del13insAGAAA (c.1973_1985del13insAGAAA) | 2105-2117del13insAGAAA (c.1973_1985del13insAGAAA)
2183AA>G (c.2051_2052delAAinsG) | 2183AA->G (p.Lys684SerfsX38)
2184delA (c.2052delA) | 2184delA (p.Lys684AsnfsX38)
2184insA (c.2502_2503insA) | 2184insA (p.Gln685ThrfsX4)
2789+5G>A (c.2657+5G>A) | 2789+5G>A (c.2657+5G>A)
3120+1G>A (c.2988+1G>A) | 3120+1G>A (c.2988+1G>A)
3121-1G>A (c.2989-1G>A) | 3121-1G>A (c.3121-1G>A)
3272-26A>G (c.3140-26A>G) | 3272-26A>G (c.3140-26A>G)
3659delC (c.3528delC) | 3659delC (p.Lys1177SerfsX15)
3791delC (c.3659delC) | 3791delC (p.Thr1220LysfsX8)
3876delA (c.3744delA) | 3876delA (p.Lys1250ArgfsX9)
3849+10kb C>T (c.3717+12191C>T) | 3849+10kb C>T (c.3717+12191C->T)
3905insT (c.3773_3774insT) | 3905insT (p.Leu1258PhefsX7)