|  |  |  |
| --- | --- | --- |
| **Lab:** | **Building #:** | **Room #:** |
| **Equipment: Ion OneTouch 2** | **Equipment ID:** |
| **Manufacturer: Life Technologies/Ion Torrent** | **Model # :** |
| **Serial #:** | **ESO/CDC Barcode #:** |
| **Log Start Date:** | **Log End Date:** |

|  |
| --- |
| **Perform the Post-Run Clean after each sequencing run** |
| **Sequence Run Finish Date** | **Post-Run Clean Date** | **≥ 20 mL Ion OT oil in****left Reagent Tube?** | **If No, oil added to left Reagent Tube?** | **Initials** |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
|  |  | [ ]  Yes [ ]  No | [ ]  Yes [ ]  No |  |
| **Comments** |  |

Approval Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date:\_\_\_\_\_\_\_\_\_\_\_