|  |  |  |
| --- | --- | --- |
| **Lab:** | **Building #:** | **Room #:** |
| **Equipment: Ion PGM Sequencer** | **Equipment ID:** |
| **Manufacturer: Life Technologies/Ion Torrent** | **Model # :** |
| **Serial # :** | **ESO/CDC Barcode #:** |
| **Log Start Date:** | **Log End Date:** |

|  |
| --- |
| **Perform 18 MOhm water clean daily when instrument is in use** |
| **18 MOhm Water Wash Date** | **Sequence Run Start Date** | **pH Reading** | **Initials** |
|  |  | **R0:** |  |
| **R1:** |
| **R2:** |
| **R3:** |
| **W2:** |
| **W1:** |
| **PASS FAIL**  |
|  |  | **R0:** |  |
| **R1:** |
| **R2:** |
| **R3:** |
| **W2:** |
| **W1:** |
| **PASS FAIL**  |
|  |  | **R0:** |  |
| **R1:** |
| **R2:** |
| **R3:** |
| **W2:** |
| **W1:** |
| **PASS FAIL**  |
|  |  | **R0:** |  |
| **R1:** |
| **R2:** |
| **R3:** |
| **W2:** |
| **W1:** |
| **PASS FAIL**  |
|  |  | **R0:** |  |
| **R1:** |
| **R2:** |
| **R3:** |
| **W2:** |
| **W1:** |
| **PASS FAIL**  |
| **Comments:** |  |

Approval Signature:\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_ Date:\_\_\_\_\_\_\_\_\_\_\_