# Instructions for Logging or Recording Results

# Results Log – Qualitative Test

- Record the Facility Information and Test Name on the top of the form.

- Enter the date of the test, Sample number, Patient name or ID, Test Results, Lot number, and expiration date of test.

- The person performing the test should initial the results after verifying all of the information has been entered correctly.

# Results Log – Quantitative Test

- Record the Facility Information, test name, and reportable range for the test on the top of the form.

- Enter the date of the test, Sample number, Patient name or ID, Test Results, Lot number and expiration date of test.

- The person performing the test should initial the results after verifying all of the information has been entered correctly.

# Results Log with Quality Control (QC) – Qualitative Test

- Record the Facility Information and Test Name on the top of the form.

- Record the QC material lot number, expiration date, positive and negative control results.

- If the results are acceptable, QC passes and patient results can be reported.

- If the results are not acceptable, QC fails.  Troubleshoot (check expiration dates, storage condition etc.), re-test the QC and document the corrective action taken.

# Results Log with QC – Quantitative Test

- Record the Facility Information, test name, and reportable range on the top of the form.

- Record the QC material lot number, expiration date, positive and negative control results.

- If the results are acceptable, QC passes and patient results can be reported.

- If the results are not acceptable, QC fails.  Troubleshoot (check expiration dates, storage condition etc.), re-test the QC and document the corrective action taken.

# Results Log for Multiple Tests

- Record the Facility Information on the top of the form.

- Record the date, sample number, patient ID, test name, reportable range (if applicable), test result, lot number, expiration date, and the initials of the individual performing the test.

| RESULTS LOG – QUALITATIVE TEST Facility: | Dr. Smith’s Office |
| --- | --- |
| Location: | 123 Main Street |
| EXAMPLE | Atlanta GA 55555 |

| Test Name: | XYZ Strep antigen |  |  |
| --- | --- | --- | --- |

|  | Date | Sample Number | Patient Name/Patient ID | Test Result | Test Lot Number | Test Exp. Date | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5/5/2012 | 5/5/2018 | Donald Smith | NEG | Bd-0679 | 11/30/2013 | CO |
| 2 | 5/5/2012 | 5/5/2019 | Chris White | POS | Bd-0679 | 11/30/2013 | CO |
| 3 | 5/7/2012 | 5/6/1930 | Sam Jones | NEG | Bd-0679 | 11/30/2013 | CO |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |

RESULTS LOG – QUANTITATIVE TEST

| Facility: | Dr. Smith’s Office |
| --- | --- |
| Location: | 123 Main Street |
|  | Atlanta GA 55555 |

| Test Name: | XYZ ALT | Reportable Range: | 5-400 U/L |
| --- | --- | --- | --- |

|  | Date | Sample Number | Patient Name/Patient ID | Test Result | Test Lot Number | Test Exp. Date | Initials |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5/5/2012 | 5/5/2018 | Steve Smith | Male: 30 U / L | C843 | 06/31/2013 | CO |
| 2 | 5/5/2012 | 5/5/2019 | Chris White | Male: 22 U / L | C843 | 06/31/2013 | CO |
| 3 | 5/7/2012 | 5/6/1930 | Sam Jones | Female: 14 U / L | C843 | 06/31/2013 | CO |
| 4 |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |

| Facility: | Dr. Smith’s Office |
| --- | --- |
| Location: | 123 Main Street |
|  | Atlanta GA 55555 |

RESULTS LOG WITH QC – QUALITATIVE TEST

| Test Name: |  |  |  |
| --- | --- | --- | --- |

|  | Date | Sample ID / Patient ID | Test Result | Initials | Test Lot No. | Test Exp. Date | QC Lot / Exp Date | Positive Control Results | Negative Control Results |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5/5/2012 | 5-05-20 / Tom Jones | NEG | SH | Bjz-3 | 8/31/13 | 108-OCB / 9-30-12 | POS | NEG |
| 2 | 5/6/2012 | 5-05-22 / Mattie Dunn | NEG | CO | Bjz-3 | 8/31/13 | 108-OCB / 9-30-12 | POS | NEG |
| 3 |  |  |  |  |  |  |  |  |  |
| 4 |  |  |  |  |  |  |  |  |  |
| 5 |  |  |  |  |  |  |  |  |  |
| 6 |  |  |  |  |  |  |  |  |  |
| 7 |  |  |  |  |  |  |  |  |  |
| 8 |  |  |  |  |  |  |  |  |  |
| 9 |  |  |  |  |  |  |  |  |  |
| 10 |  |  |  |  |  |  |  |  |  |
| 11 |  |  |  |  |  |  |  |  |  |
| 12 |  |  |  |  |  |  |  |  |  |
| 13 |  |  |  |  |  |  |  |  |  |
| 14 |  |  |  |  |  |  |  |  |  |
| 15 |  |  |  |  |  |  |  |  |  |

* Reportable Range is the range of results for which a test system has been proven to yield accurate results.  This is usually found in the current manufacturer’s instructions for the test.

RESULTS LOG WITH QC – QUANTITATIVE TEST

| Facility: | Dr. Smith’s Office |
| --- | --- |
| Location: | 123 Main Street |
|  | Atlanta GA 55555 |

| Test Name: |  | Reportable Range: |  |
| --- | --- | --- | --- |

|  | Date | Sample ID / Patient ID | Test Results | Initials | Test Lot number / Test Exp. Date | QC Level 1 Control | QC Level 2 Control |
| --- | --- | --- | --- | --- | --- | --- | --- |
| 1 | 5/5/2012 | 5/5/2018 / Steve Smith |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 2 | 5/5/2012 |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 3 | 5/5/2012 |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 4 |  |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 5 |  |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 6 |  |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 7 |  |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
| 8 |  |  |  |  |  | Lot #: | Lot #: |
|  |  |  |  |  |  | Range: | Range: |
|  |  |  |  |  |  | Result: | Result: |
|  |  |  |  |  |  | Result: | Result: |

This job aid is a component of the free, on-demand CDC training course “Ready? Set? Test!” Find the course at https://www.cdc.gov/labtraining.