## IR Spectrum of 20 ppmv PGME
Wavenumber (1/cm) | Absorbance
594.44 | 0.022276
602.16 | 0.018597
609.88 | 0.055181
617.6 | 0.025554
625.32 | 0.035998
633.04 | -0.016938
640.76 | 0.002461
648.48 | 0.007259
656.2 | -0.012304
663.92 | 0.037382
671.64 | 0.025217
679.36 | 0
687.08 | 0.021504
694.8 | 0.009939
702.52 | 0.051603
710.24 | 0.043634
717.96 | -0.001412
725.68 | 0.027338
733.4 | 0.01621
741.12 | 0.002284
748.84 | 0.013171
756.56 | 0.007987
764.28 | 0.004471
772 | 0.010757
779.72 | 0.012172
787.44 | 0.007003
795.16 | 0.002242
802.88 | 0.004818
810.6 | 0.003521
818.32 | 0.002312
826.04 | 0.005474
833.76 | 0.003687
841.48 | 0.006676
849.2 | 0.00941
856.92 | 0.008981
864.64 | 0.007554
872.36 | 0.005839
880.08 | 0.003997
887.8 | 0.003047
895.52 | 0.003864
903.24 | 0.005062
910.96 | 0.006133
918.68 | 0.009099
926.4 | 0.009215
934.12 | 0.008027
941.84 | 0.00744
949.56 | 0.00994
957.28 | 0.017083
965 | 0.030691
972.72 | 0.039729
980.44 | 0.038466
988.16 | 0.029754
995.88 | 0.014584
1003.6 | 0.006252
1011.32 | 0.003847
1019.04 | 0.003537
1026.76 | 0.005076
1034.48 | 0.007958
1042.2 | 0.012288
1049.92 | 0.019292
1057.64 | 0.026316
1065.36 | 0.027749
1073.08 | 0.027106
1080.8 | 0.021747
1088.52 | 0.027783
1096.24 | 0.033954
1103.96 | 0.051069
1111.68 | 0.088759
1119.4 | 0.11566
1127.12 | 0.11833
1134.84 | 0.075862
1142.56 | 0.04699
1150.28 | 0.047368
1158 | 0.053395
1165.72 | 0.05712
1173.44 | 0.042989
1181.16 | 0.020112
1188.88 | 0.016703
1196.6 | 0.028975
1204.32 | 0.034995
1212.04 | 0.030367
1219.76 | 0.015522
1227.48 | 0.008389
1235.2 | 0.013169
1242.92 | 0.019729
1250.64 | 0.033265
1258.36 | 0.042037
1266.08 | 0.040892
1273.8 | 0.031059
1281.52 | 0.015396
1289.24 | 0.007757
1296.96 | 0.005004
1304.68 | 0.004809
1312.4 | 0.008747
1320.12 | 0.01927
1327.84 | 0.027236
1335.56 | 0.028661
1343.28 | 0.020855
1351 | 0.010305
1358.72 | 0.00825
1366.44 | 0.008479
1374.16 | 0.014161
1381.88 | 0.023381
1389.6 | 0.026537
1397.32 | 0.025166
1405.04 | 0.017027
1412.76 | 0.013769
1420.48 | 0.010169
1428.2 | 0.006408
1435.92 | 0.008445
1443.64 | 0.011242
1451.36 | 0.017878
1459.08 | 0.025443
1466.8 | 0.023585
1474.52 | 0.018542
1482.24 | 0.009761
1489.96 | 0.006795
1497.68 | 0.003799
1505.4 | 0.004047
1513.12 | 0.003815
1520.84 | 0.003872
1528.56 | 0.002975
1536.28 | 0.003145
1544 | 0.003395
1551.72 | 0.002334
1559.44 | 0.00342
1567.16 | 0.002043
1574.88 | 0.001891
1582.6 | 0.001555
1590.32 | 0.001193
1598.04 | 0.001466
1605.76 | 0.001241
1613.48 | 0.001572
1621.2 | 0.001517
1628.92 | 0.001343
1636.64 | 0.001459
1644.36 | 0.001784
1652.08 | 0.002786
1659.8 | 0.001516
1667.52 | 0.001535
1675.24 | 0.001836
1682.96 | 0.002102
1690.68 | 0.001673
1698.4 | 0.002432
1706.12 | 0.001807
1713.84 | 0.0015
1721.56 | 0.001485
1729.28 | 0.001101
1737 | 0.001889
1744.72 | 0.001579
1752.44 | 0.001967
1760.16 | 0.001102
1767.88 | 0.001404
1775.6 | 0.001745
1783.32 | 0.000877
1791.04 | 0.001276
1798.76 | 0.001313
1806.48 | 0.000933
1814.2 | 0.000716
1821.92 | 0.00076
1829.64 | 0.00123
1837.36 | 0.000782
1845.08 | 0.001055
1852.8 | 0.000679
1860.52 | 0.000394
1868.24 | 0.001112
1875.96 | 0.00059
1883.68 | 0.000495
1891.4 | 0.000783
1899.12 | 0.000601
1906.84 | 0.000586
1914.56 | 0.000686
1922.28 | 0.000873
1930 | 0.000505
1937.72 | 0.000587
1945.44 | 0.000856
1953.16 | 0.000545
1960.88 | 0.000604
1968.6 | 0.000724
1976.32 | 0.000524
1984.04 | 0.000678
1991.76 | 0.000822
1999.48 | 0.000685
2007.2 | 0.000689
2014.92 | 0.000755
2022.64 | 0.001017
2030.36 | 0.001109
2038.08 | 0.001223
2045.8 | 0.001376
2053.52 | 0.00121
2061.24 | 0.001178
2068.96 | 0.001374
2076.68 | 0.001665
2084.4 | 0.001999
2092.12 | 0.002134
2099.84 | 0.001804
2107.56 | 0.001449
2115.28 | 0.001261
2123 | 0.001241
2130.72 | 0.001144
2138.44 | 0.001107
2146.16 | 0.001095
2153.88 | 0.000728
2161.6 | 0.00068
2169.32 | 0.000709
2177.04 | 0.000766
2184.76 | 0.000885
2192.48 | 0.000827
2200.2 | 0.00067
2207.92 | 0.000602
2215.64 | 0.000633
2223.36 | 0.00081
2231.08 | 0.001034
2238.8 | 0.000986
2246.52 | 0.000863
2254.24 | 0.000749
2261.96 | 0.000634
2269.68 | 0.000611
2277.4 | 0.0007
2285.12 | 0.000684
2292.84 | 0.000859
2300.56 | 0.001249
2308.28 | 0.001934
2316 | 0.002708
2323.72 | 0.003356
2331.44 | 0.003532
2339.16 | 0.003799
2346.88 | 0.003355
2354.6 | 0.003558
2362.32 | 0.005206
2370.04 | 0.004102
2377.76 | 0.002413
2385.48 | 0.001046
2393.2 | 0.000667
2400.92 | 0.000824
2408.64 | 0.000942
2416.36 | 0.000889
2424.08 | 0.000731
2431.8 | 0.000629
2439.52 | 0.000447
2447.24 | 0.000604
2454.96 | 0.00062
2462.68 | 0.000512
2470.4 | 0.000448
2478.12 | 0.00052
2485.84 | 0.0005
2493.56 | 0.000401
2501.28 | 0.000611
2509 | 0.000801
2516.72 | 0.000889
2524.44 | 0.000906
2532.16 | 0.000805
2539.88 | 0.000393
2547.6 | 0.000552
2555.32 | 0.000772
2563.04 | 0.000801
2570.76 | 0.000929
2578.48 | 0.001033
2586.2 | 0.001262
2593.92 | 0.001257
2601.64 | 0.001402
2609.36 | 0.001322
2617.08 | 0.001482
2624.8 | 0.001617
2632.52 | 0.001395
2640.24 | 0.001724
2647.96 | 0.001875
2655.68 | 0.002028
2663.4 | 0.002181
2671.12 | 0.001941
2678.84 | 0.001869
2686.56 | 0.002076
2694.28 | 0.002178
2702 | 0.002294
2709.72 | 0.002692
2717.44 | 0.002905
2725.16 | 0.0032
2732.88 | 0.003292
2740.6 | 0.002826
2748.32 | 0.003054
2756.04 | 0.003585
2763.76 | 0.004135
2771.48 | 0.004577
2779.2 | 0.005078
2786.92 | 0.00536
2794.64 | 0.006135
2802.36 | 0.007866
2810.08 | 0.01335
2817.8 | 0.025186
2825.52 | 0.036532
2833.24 | 0.040792
2840.96 | 0.037017
2848.68 | 0.031389
2856.4 | 0.030947
2864.12 | 0.033683
2871.84 | 0.03994
2879.56 | 0.055302
2887.28 | 0.075328
2895 | 0.092714
2902.72 | 0.091173
2910.44 | 0.068268
2918.16 | 0.048797
2925.88 | 0.045086
2933.6 | 0.051968
2941.32 | 0.051967
2949.04 | 0.04112
2956.76 | 0.030693
2964.48 | 0.026933
2972.2 | 0.029494
2979.92 | 0.043953
2987.64 | 0.061708
2995.36 | 0.064218
3003.08 | 0.04924
3010.8 | 0.022257
3018.52 | 0.006975
3026.24 | 0.003908
3033.96 | 0.002085
3041.68 | 0.002023
3049.4 | 0.001633
3057.12 | 0.001413
3064.84 | 0.001406
3072.56 | 0.001301
3080.28 | 0.001245
3088 | 0.001171
3095.72 | 0.001196
3103.44 | 0.001428
3111.16 | 0.001176
3118.88 | 0.001235
3126.6 | 0.001065
3134.32 | 0.0006
3142.04 | 0.000962
3149.76 | 0.00082
3157.48 | 0.000728
3165.2 | 0.000684
3172.92 | 0.000505
3180.64 | 0.00097
3188.36 | 0.000805
3196.08 | 0.001039
3203.8 | 0.001118
3211.52 | 0.000882
3219.24 | 0.000695
3226.96 | 0.000484
3234.68 | 0.000506
3242.4 | 0.000584
3250.12 | 0.000331
3257.84 | 0.000353
3265.56 | 0.000262
3273.28 | 0.000435
3281 | 0.000268
3288.72 | 0.000251
3296.44 | 0.00041
3304.16 | 0.000158
3311.88 | 0.00036
3319.6 | 0.000263
3327.32 | 0.000205
3335.04 | 0.0005
3342.76 | 0.000211
3350.48 | 0.000171
3358.2 | 0.000109
3365.92 | 0.000198
3373.64 | 0.000245
3381.36 | -4.5e-05
3389.08 | 4.6e-05
3396.8 | 0.000209
3404.52 | 4.7e-05
3412.24 | -0.000142
3419.96 | 7.2e-05
3427.68 | 4.9e-05
3435.4 | -0.000244
3443.12 | 0.000275
3450.84 | 0.000432
3458.56 | -0.000202
3466.28 | 0.000667
3474 | 0.000515
3481.72 | 0
3489.44 | 0.000792
3497.16 | -2.6e-05
3504.88 | 0.001085
3512.6 | 0.000942
3520.32 | -0.000106
3528.04 | 0.001836
3535.76 | -0.00016
3543.48 | 0.000511
3551.2 | 0.001167
3558.92 | 0
3566.64 | 0.002012
3574.36 | 5.4e-05
3582.08 | 0.001584
3589.8 | 0.001813
3597.52 | 0.00346
3605.24 | 0.006563
3612.96 | 0.018191
3620.68 | 0.032875
3628.4 | 0.034838
3636.12 | 0.022882
3643.84 | 0.008195
3651.56 | 0.005173
3659.28 | 0.002866
3667 | 0.002043
3674.72 | 0.004225
3682.44 | 0.000845
3690.16 | 0.002132
3697.88 | 0.001724
3705.6 | 0.000447
3713.32 | 0.003033
3721.04 | 0.001599
3728.76 | 0.001018
3736.48 | 0.003747
3744.2 | 0.002767
3751.92 | 0.00238
3759.64 | 0.002564
3767.36 | 0.001731
3775.08 | 0.00056
3782.8 | 0.000939
3790.52 | 0.001429
3798.24 | 0.001587
3805.96 | 0.001461
3813.68 | 0.001364
3821.4 | 0.002883
3829.12 | 0.00145
3836.84 | 0.001057
3844.56 | 0.001807
3852.28 | 0.002921
3860 | 0.001954
3867.72 | 0.000781
3875.44 | 0.00227
3883.16 | 0.002453
3890.88 | 0.000861
3898.6 | 0.001138
3906.32 | 0.00227
3914.04 | 0.00099
3921.76 | 0.001466
3929.48 | 0.001133
3937.2 | 0.000757
3944.92 | 0.001258
3952.64 | 0.001482
3960.36 | 0.001176
3968.08 | 0.001121
3975.8 | 0.000903
3983.52 | 0.000815
3991.24 | 0.001755
3998.96 | 0.001674
4006.68 | 0.001166
4014.4 | 0.001143
4022.12 | 0.001232
4029.84 | 0.001754
4037.56 | 0.002161
4045.28 | 0.002377
4053 | 0.001305
4060.72 | 0.000899
4068.44 | 0.000378
4076.16 | 0.000758
4083.88 | 0.001525
4091.6 | 0.001145
4099.32 | 0.001059
4107.04 | 0.00056
4114.76 | 0.000708
4122.48 | 0.000118
4130.2 | 0.001364
4137.92 | 0.001129
4145.64 | 0.001192
4153.36 | 0.001553
4161.08 | 0.000538
4168.8 | 0.001199
4176.52 | 0.00033
4184.24 | 0.000571
4191.96 | 0.001145
4199.68 | 0.000392
4207.4 | 0.001392
4215.12 | 0.001273
4222.84 | 0.000455
4230.56 | 0.001523
4238.28 | 0.001373

## IR Spectrum of 40 ppmv ethanol
Wavenumber | Absorbance
594.44 | -0.036212
602.16 | 0.021319
609.88 | 0.035417
617.6 | 0.023481
625.32 | 0.034549
633.04 | 0.02723
640.76 | 0.050584
648.48 | -0.053147
656.2 | -0.017325
663.92 | 0.037142
671.64 | -0.0023928
679.36 | 0.0046699
687.08 | 0.026197
694.8 | -0.039509
702.52 | -0.0038776
710.24 | 0.0087386
717.96 | 0.0057907
725.68 | 0.019199
733.4 | 0.0068088
741.12 | 0.01728
748.84 | 0.002496
756.56 | -0.0010077
764.28 | 0.0025008
772 | 0.0037661
779.72 | -0.00027901
787.44 | 0.0009081
795.16 | 0.0030055
802.88 | 0.002505
810.6 | 0.0026123
818.32 | 0.0012151
826.04 | 0.00075694
833.76 | 0.0018831
841.48 | 0.0018109
849.2 | 0.0019362
856.92 | 0.0060478
864.64 | 0.011786
872.36 | 0.013735
880.08 | 0.013079
887.8 | 0.013985
895.52 | 0.015505
903.24 | 0.012407
910.96 | 0.00688
918.68 | 0.0031861
926.4 | 0.0023224
934.12 | 0.001731
941.84 | 0.0010786
949.56 | 0.0012854
957.28 | 0.0016626
965 | 0.0014677
972.72 | 0.002139
980.44 | 0.0032484
988.16 | 0.0052541
995.88 | 0.0080941
1003.6 | 0.015083
1011.32 | 0.024204
1019.04 | 0.032749
1026.76 | 0.041805
1034.48 | 0.055228
1042.2 | 0.077452
1049.92 | 0.090645
1057.64 | 0.091229
1065.36 | 0.090963
1073.08 | 0.090441
1080.8 | 0.08251
1088.52 | 0.055225
1096.24 | 0.034941
1103.96 | 0.031109
1111.68 | 0.021148
1119.4 | 0.01214
1127.12 | 0.0085432
1134.84 | 0.0059987
1142.56 | 0.0046118
1150.28 | 0.0036974
1158 | 0.0035106
1165.72 | 0.0033042
1173.44 | 0.0035894
1181.16 | 0.0043254
1188.88 | 0.005238
1196.6 | 0.0065149
1204.32 | 0.0083661
1212.04 | 0.011298
1219.76 | 0.01783
1227.48 | 0.024246
1235.2 | 0.022683
1242.92 | 0.022813
1250.64 | 0.025671
1258.36 | 0.02351
1266.08 | 0.017148
1273.8 | 0.011091
1281.52 | 0.0081145
1289.24 | 0.0063936
1296.96 | 0.0055367
1304.68 | 0.00524
1312.4 | 0.0052311
1320.12 | 0.0053459
1327.84 | 0.0055418
1335.56 | 0.0057455
1343.28 | 0.0065373
1351 | 0.0074727
1358.72 | 0.010312
1366.44 | 0.014432
1374.16 | 0.023097
1381.88 | 0.028363
1389.6 | 0.029603
1397.32 | 0.03087
1405.04 | 0.031518
1412.76 | 0.029559
1420.48 | 0.01648
1428.2 | 0.011153
1435.92 | 0.010081
1443.64 | 0.0097325
1451.36 | 0.012
1459.08 | 0.0088076
1466.8 | 0.0068431
1474.52 | 0.0072774
1482.24 | 0.0060727
1489.96 | 0.0049204
1497.68 | 0.0036953
1505.4 | 0.0032714
1513.12 | 0.002206
1520.84 | 0.0017669
1528.56 | 0.00098307
1536.28 | 0.00074717
1544 | 0.00063724
1551.72 | 0.00034908
1559.44 | 0.00053244
1567.16 | 0.00032906
1574.88 | 0.0002103
1582.6 | 0.00016443
1590.32 | -8.85e-06
1598.04 | 0.00011547
1605.76 | 0.00018502
1613.48 | 0.0001694
1621.2 | 0.00014473
1628.92 | 0.00019688
1636.64 | 0.00016881
1644.36 | 0.00031333
1652.08 | 0.00053739
1659.8 | 0.00022602
1667.52 | 0.0002291
1675.24 | 0.00027715
1682.96 | 0.00027728
1690.68 | 0.00036281
1698.4 | 0.00045705
1706.12 | 0.00041816
1713.84 | 0.00031711
1721.56 | 0.00014139
1729.28 | 0.00020566
1737 | 0.0003223
1744.72 | 0.00027549
1752.44 | 0.00022206
1760.16 | 0.00026388
1767.88 | 0.00042349
1775.6 | 0.00036434
1783.32 | 0.00026671
1791.04 | 0.0002175
1798.76 | 0.00013665
1806.48 | 9.82e-05
1814.2 | 4.01e-05
1821.92 | -3.23e-05
1829.64 | 1.7e-05
1837.36 | 0
1845.08 | 6.77e-05
1852.8 | -6.45e-05
1860.52 | -0.00013184
1868.24 | 7.57e-05
1875.96 | 0.00011156
1883.68 | 0.00025969
1891.4 | 0.00035696
1899.12 | 0.00047522
1906.84 | 0.0008002
1914.56 | 0.001064
1922.28 | 0.0012197
1930 | 0.0012905
1937.72 | 0.0012084
1945.44 | 0.0011857
1953.16 | 0.00096693
1960.88 | 0.00059726
1968.6 | 0.00042616
1976.32 | 0.00029466
1984.04 | 0.00023977
1991.76 | 0.00019489
1999.48 | 0.00022573
2007.2 | 3.21e-05
2014.92 | 0
2022.64 | 9.76e-05
2030.36 | -1.62e-05
2038.08 | -2.45e-05
2045.8 | 1.64e-05
2053.52 | 4.92e-05
2061.24 | 8.26e-06
2068.96 | 0.00012422
2076.68 | 0.00014923
2084.4 | 0.00020833
2092.12 | 0.00035157
2099.84 | 0.00040323
2107.56 | 0.00061606
2115.28 | 0.00060214
2123 | 0.00058767
2130.72 | 0.00054757
2138.44 | 0.00060209
2146.16 | 0.00038012
2153.88 | 0.00026049
2161.6 | 0.00035802
2169.32 | 0.00013162
2177.04 | 9.7e-05
2184.76 | 0.00020393
2192.48 | 0.00015151
2200.2 | 0.00021501
2207.92 | 0.00027028
2215.64 | 9.97e-05
2223.36 | 0
2231.08 | 4.58e-05
2238.8 | 0.00025857
2246.52 | 0.0005025
2254.24 | 0.00060068
2261.96 | 0.00055934
2269.68 | 0.0006321
2277.4 | 0.00050971
2285.12 | 0.00046361
2292.84 | 0.00049522
2300.56 | 0.00034196
2308.28 | 0.00042479
2316 | 0.00057601
2323.72 | 0.00071932
2331.44 | 0.00072209
2339.16 | 0.00063757
2346.88 | 0.00070731
2354.6 | 0.00067574
2362.32 | 0.0013957
2370.04 | 0.0011551
2377.76 | 0.00061748
2385.48 | 0.00050878
2393.2 | 0.00050152
2400.92 | 0.00060387
2408.64 | 0.00063646
2416.36 | 0.00071916
2424.08 | 0.00050634
2431.8 | 0.00052147
2439.52 | 0.00043754
2447.24 | 0.00025316
2454.96 | 0.00055444
2462.68 | 0.00049118
2470.4 | 0.00039344
2478.12 | 0.00045283
2485.84 | 0.00038743
2493.56 | 0.0003674
2501.28 | 0.00036978
2509 | 0.0003259
2516.72 | 0.00030463
2524.44 | 0.00029481
2532.16 | 0.00011868
2539.88 | 0.0001433
2547.6 | 0.00025236
2555.32 | 0.00021768
2563.04 | 0.00031623
2570.76 | 0.00030603
2578.48 | 0.00043106
2586.2 | 0.0005576
2593.92 | 0.00041132
2601.64 | 0.00040113
2609.36 | 0.00055493
2617.08 | 0.0006214
2624.8 | 0.00072697
2632.52 | 0.00083368
2640.24 | 0.0008763
2647.96 | 0.00091954
2655.68 | 0.001028
2663.4 | 0.0011507
2671.12 | 0.0012473
2678.84 | 0.0013581
2686.56 | 0.00151
2694.28 | 0.0015295
2702 | 0.0016694
2709.72 | 0.0019715
2717.44 | 0.0019927
2725.16 | 0.0022576
2732.88 | 0.002768
2740.6 | 0.0032013
2748.32 | 0.0035542
2756.04 | 0.0037718
2763.76 | 0.0040473
2771.48 | 0.0043497
2779.2 | 0.004615
2786.92 | 0.0051894
2794.64 | 0.005501
2802.36 | 0.0059863
2810.08 | 0.006558
2817.8 | 0.0072358
2825.52 | 0.0082953
2833.24 | 0.01021
2840.96 | 0.012736
2848.68 | 0.016825
2856.4 | 0.022454
2864.12 | 0.031419
2871.84 | 0.038582
2879.56 | 0.045165
2887.28 | 0.052064
2895 | 0.055421
2902.72 | 0.062089
2910.44 | 0.059038
2918.16 | 0.053961
2925.88 | 0.05222
2933.6 | 0.049588
2941.32 | 0.049495
2949.04 | 0.051885
2956.76 | 0.057363
2964.48 | 0.066054
2972.2 | 0.074406
2979.92 | 0.073893
2987.64 | 0.075828
2995.36 | 0.067333
3003.08 | 0.052277
3010.8 | 0.039891
3018.52 | 0.026186
3026.24 | 0.016781
3033.96 | 0.0091785
3041.68 | 0.0046353
3049.4 | 0.0020452
3057.12 | 0.0009047
3064.84 | 0.00035434
3072.56 | 0.00021628
3080.28 | 0.00029489
3088 | 0.00021812
3095.72 | 0.00021959
3103.44 | 0.00023705
3111.16 | 0.00025365
3118.88 | 0.00027155
3126.6 | 0.00033768
3134.32 | 0.000291
3142.04 | 0.00024386
3149.76 | 0.00031095
3157.48 | 0.00032996
3165.2 | 0.00026611
3172.92 | 0.00031883
3180.64 | 0.00049162
3188.36 | 0.00029036
3196.08 | 0.00070742
3203.8 | 0.00092273
3211.52 | 0.00094914
3219.24 | 0.00094156
3226.96 | 0.00094763
3234.68 | 0.00099132
3242.4 | 0.00081835
3250.12 | 0.00078827
3257.84 | 0.00057334
3265.56 | 0.00020486
3273.28 | 0.00015058
3281 | 0.00030458
3288.72 | 0.00032644
3296.44 | 0.00023309
3304.16 | 0.00019616
3311.88 | 0.00035818
3319.6 | 0.00054407
3327.32 | 0.00048949
3335.04 | 4.14e-05
3342.76 | 0.00044036
3350.48 | 0.00048835
3358.2 | 0.00030235
3365.92 | 0.00052637
3373.64 | 0.00050937
3381.36 | 0.00074167
3389.08 | 0.00098042
3396.8 | 0.00073962
3404.52 | 0.0010043
3412.24 | 0.0011083
3419.96 | 0.0011765
3427.68 | 0.00075254
3435.4 | 0.0011692
3443.12 | 0.00084522
3450.84 | 0.0009572
3458.56 | 0.0012338
3466.28 | 0.0009942
3474 | 0.0016142
3481.72 | 0.0011183
3489.44 | 0.001468
3497.16 | 0.0012311
3504.88 | 0.001474
3512.6 | 0.00085391
3520.32 | 0.0011919
3528.04 | 0.0015861
3535.76 | 0.00029194
3543.48 | 0.0017859
3551.2 | 0.0012553
3558.92 | 0.00082956
3566.64 | 0.0016478
3574.36 | 0.00056061
3582.08 | 0.0016531
3589.8 | 0.0012937
3597.52 | 0.0013045
3605.24 | 0.0021604
3612.96 | 0.0018124
3620.68 | 0.0035882
3628.4 | 0.0046564
3636.12 | 0.0062009
3643.84 | 0.0093313
3651.56 | 0.013603
3659.28 | 0.017998
3667 | 0.01955
3674.72 | 0.020783
3682.44 | 0.018283
3690.16 | 0.016837
3697.88 | 0.013258
3705.6 | 0.0075061
3713.32 | 0.0037355
3721.04 | 0.0029587
3728.76 | 0.0019877
3736.48 | 0.0014557
3744.2 | 0.0022204
3751.92 | 0.0024599
3759.64 | 0.0013464
3767.36 | 0.0016228
3775.08 | 0.0019394
3782.8 | 0.001304
3790.52 | 0.001305
3798.24 | 0.0018499
3805.96 | 0.0021373
3813.68 | 0.0015074
3821.4 | 0.0015742
3829.12 | 0.002455
3836.84 | 0.0027057
3844.56 | 0.0018329
3852.28 | 0.0019623
3860 | 0.0026775
3867.72 | 0.0022512
3875.44 | 0.0015372
3883.16 | 0.0022765
3890.88 | 0.0025101
3898.6 | 0.0020542
3906.32 | 0.0020114
3914.04 | 0.0010143
3921.76 | 0.0013084
3929.48 | 0.0021801
3937.2 | 0.00254
3944.92 | 0.0017322
3952.64 | 0.00050984
3960.36 | 0.00044749
3968.08 | 0.0016254
3975.8 | 0.0022
3983.52 | 0.0025061
3991.24 | 0.0020956
3998.96 | 0.001221
4006.68 | 0.0008543
4014.4 | 0.0012586
4022.12 | 0.0014343
4029.84 | 0.0014662
4037.56 | 0.0024776
4045.28 | 0.0023757
4053 | 0.0024708
4060.72 | 0.0019788
4068.44 | 0.001723
4076.16 | 0.0014038
4083.88 | 0.00061621
4091.6 | 0.0011749
4099.32 | 0.00082354
4107.04 | 0.00044254
4114.76 | 0.0019819
4122.48 | 0.0011849
4130.2 | 0.0020202
4137.92 | 0.0025654
4145.64 | 0.0013139
4153.36 | 0.0021547
4161.08 | 0.0016195
4168.8 | 0.0017115
4176.52 | 0.0010226
4184.24 | 0.00087393
4191.96 | 0.0012387
4199.68 | 0.00054405
4207.4 | 0.0002421
4215.12 | -0.00087887
4222.84 | 0.00033494
4230.56 | 0.0029023
4238.28 | 0.0018657

## PGME response LOD curves
PGME LOD Curve | PGME LOD Curve
[PGME] calc (ppm) | [PGME] avg, obs
0.35 | 0.38467
0.675 | 0.63733
0.675 | 0.6688
1.35 | 1.3126
1.35 | 1.3428
1 | 0.97277
1 | 0.92969
1 | 0.85813
1 | 0.78297
0.1 | 0.014243
0.2 | 0.0086685
PGME w/ Ehtanol LOD Curve | PGME w/ Ehtanol LOD Curve
[PGME] calc (ppm) | [PGME] avg, obs
0.1 | 0.052778
0.2 | 0.045484
0.35 | 0.062714
0.675 | 0.59135
0.675 | 0.49058
0.75 | 0.56424
1 | 0.76811
1.35 | 1.0442
1.35 | 1.1618

## Time v meas conc presci bias
1st run | Calculated Concentration 1 ppm | 2nd run | Calculated Concentration 1 ppm | 3rd run | Calculated Concentration 1 ppm | 4th run | Calculated Concentration 1 ppm | 1st run | Calculated Concentration 9.63 ppm | 2nd run | Calculated Concentration 9.63 ppm | 3rd run | Calculated Concentration 9.63 ppm | 4th run | Calculated Concentration 9.63 ppm | 1st run | Calculated Concentration 19.07 ppm | 2nd run | Calculated Concentration 19.07 ppm | 3rd run | Calculated Concentration 19.07 ppm | 4th run | Calculated Concentration 19.07 ppm | 1st run | Calculated Concentration 28.94 ppm | 2nd run | Calculated Concentration 28.94 ppm | 3rd run | Calculated Concentration 28.94 ppm | 4th run | Calculated Concentration 28.94 ppm | 1st run | Calculated Concentration 38.76 ppm | 2nd run | Calculated Concentration 38.76 ppm | 3rd run | Calculated Concentration 38.76 ppm | 4th run | Calculated Concentration 38.76 ppm
Time | [PGME] (ppm) obs | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm) | Time | [PGME] (ppm)
44232.4422 | 1.05 | 44232.4471 | 1.04 | 44232.4527 | 0.94 | 44232.4642 | 1.07 | 44232.48 | 8.89 | 44232.4872 | 8.59 | 44232.4932 | 8.59 | 44232.499 | 8.48 | 44232.5152 | 19.19 | 44232.5221 | 19.66 | 44232.5284 | 18.27 | 44232.5349 | 18.69 | 44232.5867 | 27 | 44232.6003 | 27.33 | 44232.6165 | 28.67 | 44232.6239 | 27.81 | 44232.6436 | 36.6 | 44232.6563 | 37.28 | 44232.6722 | 36.8 | 44232.6821 | 36.7
44232.4423 | 1.09 | 44232.4471 | 1.08 | 44232.4528 | 1 | 44232.4643 | 1.02 | 44232.4801 | 8.82 | 44232.4873 | 8.67 | 44232.4932 | 8.68 | 44232.499 | 8.62 | 44232.5153 | 19.09 | 44232.5221 | 19.79 | 44232.5284 | 18.25 | 44232.535 | 18.96 | 44232.5868 | 27.16 | 44232.6004 | 27.34 | 44232.6166 | 28.64 | 44232.6239 | 27.98 | 44232.6436 | 36.73 | 44232.6564 | 37.17 | 44232.6723 | 36.81 | 44232.6822 | 36.62
44232.4424 | 1.02 | 44232.4472 | 1.16 | 44232.4528 | 0.98 | 44232.4644 | 1 | 44232.4802 | 8.82 | 44232.4873 | 8.7 | 44232.4933 | 8.7 | 44232.4991 | 8.64 | 44232.5153 | 19 | 44232.5222 | 19.81 | 44232.5285 | 18.37 | 44232.535 | 19.02 | 44232.5868 | 27.11 | 44232.6005 | 27.37 | 44232.6166 | 28.58 | 44232.624 | 28.11 | 44232.6437 | 36.41 | 44232.6565 | 37.3 | 44232.6724 | 36.59 | 44232.6822 | 36.68
44232.4424 | 1.02 | 44232.4473 | 0.97 | 44232.4529 | 1.07 | 44232.4644 | 0.99 | 44232.4803 | 8.76 | 44232.4874 | 8.72 | 44232.4934 | 8.72 | 44232.4992 | 8.65 | 44232.5154 | 19.06 | 44232.5223 | 19.9 | 44232.5286 | 18.5 | 44232.5351 | 19.05 | 44232.5869 | 27.19 | 44232.6005 | 27.34 | 44232.6167 | 28.62 | 44232.6241 | 28.25 | 44232.6438 | 36.84 | 44232.6565 | 37.24 | 44232.6724 | 36.67 | 44232.6823 | 36.58
44232.4425 | 1.15 | 44232.4473 | 0.94 | 44232.453 | 0.99 | 44232.4645 | 0.99 | 44232.4803 | 8.75 | 44232.4875 | 8.78 | 44232.4934 | 8.68 | 44232.4992 | 8.68 | 44232.5155 | 18.94 | 44232.5223 | 19.89 | 44232.5287 | 18.46 | 44232.5352 | 19.16 | 44232.587 | 27.14 | 44232.6006 | 27.4 | 44232.6168 | 28.74 | 44232.6241 | 28.16 | 44232.6438 | 36.97 | 44232.6566 | 37.39 | 44232.6725 | 36.6 | 44232.6824 | 35.16
44232.4426 | 1 | 44232.4474 | 0.94 | 44232.453 | 1.14 | 44232.4646 | 0.96 | 44232.4804 | 8.7 | 44232.4875 | 8.73 | 44232.4935 | 8.66 | 44232.4993 | 8.66 | 44232.5155 | 19.07 | 44232.5224 | 19.77 | 44232.5287 | 18.58 | 44232.5353 | 19.19 | 44232.587 | 27.26 | 44232.6007 | 27.43 | 44232.6168 | 28.62 | 44232.6242 | 28.24 | 44232.6439 | 36.84 | 44232.6567 | 37.37 | 44232.6726 | 36.75 | 44232.6824 | 36.68
44232.4426 | 1.01 | 44232.4475 | 0.91 | 44232.4531 | 1.06 | 44232.4646 | 0.94 | 44232.4805 | 8.7 | 44232.4876 | 8.73 | 44232.4936 | 8.78 | 44232.4994 | 8.72 | 44232.5156 | 19.04 | 44232.5225 | 19.8 | 44232.5288 | 18.59 | 44232.5353 | 19.2 | 44232.5871 | 27.18 | 44232.6007 | 27.37 | 44232.6169 | 28.7 | 44232.6243 | 28.2 | 44232.644 | 36.91 | 44232.6567 | 37.44 | 44232.6727 | 36.7 | 44232.6825 | 36.87
44232.4427 | 1.06 | 44232.4476 | 1.03 | 44232.4532 | 1.12 | 44232.4647 | 0.99 | 44232.4805 | 8.7 | 44232.4877 | 8.78 | 44232.4937 | 8.82 | 44232.4994 | 8.73 | 44232.5157 | 19 | 44232.5225 | 19.79 | 44232.5289 | 18.54 | 44232.5354 | 19.1 | 44232.5872 | 27.29 | 44232.6008 | 27.45 | 44232.617 | 28.55 | 44232.6243 | 28.32 | 44232.6441 | 36.96 | 44232.6568 | 37.48 | 44232.6727 | 36.81 | 44232.6826 | 37.14
44232.4428 | 0.94 | 44232.4476 | 0.96 | 44232.4533 | 1.07 | 44232.4648 | 0.99 | 44232.4806 | 8.75 | 44232.4878 | 8.78 | 44232.4937 | 8.8 | 44232.4995 | 8.71 | 44232.5157 | 19.03 | 44232.5226 | 19.71 | 44232.5289 | 18.61 | 44232.5355 | 19.08 | 44232.5873 | 27.37 | 44232.6009 | 27.59 | 44232.617 | 28.65 | 44232.6244 | 28.34 | 44232.6441 | 37.08 | 44232.6569 | 37.55 | 44232.6728 | 36.63 | 44232.6827 | 37.11
44232.4428 | 0.9 | 44232.4477 | 1.1 | 44232.4533 | 0.95 | 44232.4648 | 0.99 | 44232.4807 | 8.77 | 44232.4878 | 8.87 | 44232.4938 | 8.85 | 44232.4996 | 8.79 | 44232.5158 | 19.04 | 44232.5227 | 19.73 | 44232.529 | 18.65 | 44232.5355 | 19.2 | 44232.5873 | 27.36 | 44232.6009 | 27.49 | 44232.6171 | 28.54 | 44232.6245 | 28.39 | 44232.6442 | 37.07 | 44232.657 | 37.49 | 44232.6729 | 36.78 | 44232.6827 | 37.21
44232.4429 | 0.88 | 44232.4478 | 1.08 | 44232.4534 | 0.95 | 44232.4649 | 0.92 | 44232.4807 | 8.78 | 44232.4879 | 8.78 | 44232.4939 | 8.84 | 44232.4997 | 8.8 | 44232.5159 | 19.09 | 44232.5228 | 19.69 | 44232.5291 | 18.68 | 44232.5356 | 19.11 | 44232.5874 | 27.35 | 44232.601 | 27.55 | 44232.6172 | 28.56 | 44232.6245 | 28.46 | 44232.6442 | 37.39 | 44232.657 | 37.65 | 44232.6729 | 36.88 | 44232.6828 | 37.36
44232.443 | 1.09 | 44232.4478 | 1.01 | 44232.4535 | 1.02 | 44232.465 | 1.01 | 44232.4808 | 8.77 | 44232.488 | 8.85 | 44232.4939 | 8.79 | 44232.4997 | 8.84 | 44232.5159 | 19.1 | 44232.5228 | 19.7 | 44232.5291 | 18.84 | 44232.5357 | 19.14 | 44232.5875 | 27.4 | 44232.6011 | 27.56 | 44232.6173 | 28.58 | 44232.6246 | 28.35 | 44232.6443 | 37.24 | 44232.6571 | 37.67 | 44232.673 | 36.83 | 44232.6829 | 37.38
44232.4431 | 0.89 | 44232.4479 | 0.94 | 44232.4535 | 0.99 | 44232.4651 | 0.9 | 44232.4809 | 8.81 | 44232.488 | 8.96 | 44232.494 | 8.75 | 44232.4998 | 8.8 | 44232.516 | 19.02 | 44232.5229 | 19.76 | 44232.5292 | 19.02 | 44232.5357 | 19.14 | 44232.5875 | 27.42 | 44232.6012 | 27.72 | 44232.6173 | 28.65 | 44232.6247 | 28.47 | 44232.6444 | 37.36 | 44232.6572 | 37.69 | 44232.6731 | 36.52 | 44232.6829 | 37.09
44232.4431 | 0.98 | 44232.448 | 1.02 | 44232.4536 | 1.06 | 44232.4651 | 0.94 | 44232.4809 | 8.77 | 44232.4881 | 8.94 | 44232.4941 | 8.86 | 44232.4999 | 8.8 | 44232.5161 | 19.05 | 44232.523 | 19.67 | 44232.5293 | 19.25 | 44232.5358 | 19.11 | 44232.5876 | 27.45 | 44232.6012 | 27.61 | 44232.6174 | 28.61 | 44232.6248 | 28.33 | 44232.6445 | 37.36 | 44232.6572 | 37.8 | 44232.6731 | 36.59 | 44232.683 | 37.45
44232.4432 | 0.92 | 44232.448 | 0.96 | 44232.4537 | 1.04 | 44232.4652 | 0.98 | 44232.481 | 8.83 | 44232.4882 | 8.95 | 44232.4941 | 8.86 | 44232.4999 | 8.72 | 44232.5162 | 19.2 | 44232.523 | 19.74 | 44232.5294 | 19.33 | 44232.5359 | 19.15 | 44232.5877 | 27.52 | 44232.6013 | 27.66 | 44232.6175 | 28.61 | 44232.6248 | 28.32 | 44232.6445 | 37.55 | 44232.6573 | 37.8 | 44232.6732 | 36.64 | 44232.6831 | 37.25
44232.4433 | 0.91 | 44232.4481 | 1.02 | 44232.4537 | 0.94 | 44232.4653 | 1.13 | 44232.4811 | 8.86 | 44232.4882 | 8.96 | 44232.4942 | 8.79 | 44232.5 | 8.77 | 44232.5162 | 19.18 | 44232.5231 | 19.73 | 44232.5294 | 19.44 | 44232.5359 | 19.14 | 44232.5877 | 27.51 | 44232.6014 | 27.68 | 44232.6175 | 28.75 | 44232.6249 | 28.4 | 44232.6446 | 37.63 | 44232.6574 | 37.85 | 44232.6733 | 36.83 | 44232.6831 | 37.29
44232.4433 | 0.87 | 44232.4482 | 0.98 | 44232.4538 | 1.04 | 44232.4653 | 1.14 | 44232.4812 | 8.84 | 44232.4883 | 9.03 | 44232.4943 | 8.74 | 44232.5001 | 8.71 | 44232.5163 | 19.16 | 44232.5232 | 19.64 | 44232.5295 | 19.48 | 44232.536 | 19.15 | 44232.5878 | 27.57 | 44232.6014 | 27.6 | 44232.6176 | 28.72 | 44232.625 | 28.33 | 44232.6447 | 37.68 | 44232.6574 | 37.87 | 44232.6733 | 36.92 | 44232.6832 | 37.51
44232.4434 | 0.98 | 44232.4483 | 1.04 | 44232.4539 | 1 | 44232.4654 | 1.06 | 44232.4812 | 8.87 | 44232.4884 | 9.01 | 44232.4944 | 8.82 | 44232.5001 | 8.79 | 44232.5164 | 19.18 | 44232.5232 | 19.66 | 44232.5296 | 19.51 | 44232.5361 | 19.07 | 44232.5879 | 27.57 | 44232.6015 | 27.66 | 44232.6177 | 28.62 | 44232.625 | 28.49 | 44232.6447 | 37.65 | 44232.6575 | 37.81 | 44232.6734 | 37 | 44232.6833 | 37.43
44232.4435 | 0.98 | 44232.4483 | 1.07 | 44232.4539 | 1.15 | 44232.4655 | 1.09 | 44232.4813 | 8.81 | 44232.4884 | 8.95 | 44232.4944 | 8.8 | 44232.5002 | 8.84 | 44232.5164 | 19.17 | 44232.5233 | 19.7 | 44232.5296 | 19.54 | 44232.5362 | 19.09 | 44232.588 | 27.57 | 44232.6016 | 27.63 | 44232.6177 | 28.68 | 44232.6251 | 28.44 | 44232.6448 | 37.56 | 44232.6576 | 37.97 | 44232.6735 | 37.12 | 44232.6833 | 37.56
44232.4435 | 1.09 | 44232.4484 | 1.01 | 44232.454 | 1.08 | 44232.4655 | 1 | 44232.4814 | 8.84 | 44232.4885 | 8.99 | 44232.4945 | 8.79 | 44232.5003 | 8.85 | 44232.5165 | 19.12 | 44232.5234 | 19.7 | 44232.5297 | 19.51 | 44232.5362 | 19.15 | 44232.588 | 27.56 | 44232.6016 | 27.75 | 44232.6178 | 28.66 | 44232.6252 | 28.43 | 44232.6449 | 37.69 | 44232.6577 | 38.01 | 44232.6736 | 36.82 | 44232.6834 | 37.43
44232.4436 | 1.07 | 44232.4485 | 0.99 | 44232.4541 | 1.03 | 44232.4656 | 1.01 | 44232.4814 | 8.83 | 44232.4886 | 8.97 | 44232.4946 | 8.82 | 44232.5003 | 8.81 | 44232.5166 | 19.06 | 44232.5234 | 19.57 | 44232.5298 | 19.54 | 44232.5363 | 19.15 | 44232.5881 | 27.59 | 44232.6017 | 27.57 | 44232.6179 | 28.58 | 44232.6252 | 28.41 | 44232.6449 | 37.64 | 44232.6577 | 38.05 | 44232.6736 | 36.84 | 44232.6835 | 37.47
44232.4437 | 1 | 44232.4485 | 0.99 | 44232.4542 | 1.02 | 44232.4657 | 1.06 | 44232.4815 | 8.82 | 44232.4887 | 8.98 | 44232.4946 | 8.79 | 44232.5004 | 8.9 | 44232.5166 | 19.13 | 44232.5235 | 19.52 | 44232.5298 | 19.53 | 44232.5364 | 19.14 | 44232.5882 | 27.64 | 44232.6018 | 27.75 | 44232.618 | 28.5 | 44232.6253 | 28.58 | 44232.645 | 37.81 | 44232.6578 | 38.22 | 44232.6737 | 37.1 | 44232.6836 | 37.52
44232.4437 | 0.97 | 44232.4486 | 1.01 | 44232.4542 | 1.09 | 44232.4658 | 1.08 | 44232.4816 | 8.85 | 44232.4887 | 8.94 | 44232.4947 | 8.83 | 44232.5005 | 8.91 | 44232.5167 | 19.15 | 44232.5236 | 19.52 | 44232.5299 | 19.52 | 44232.5364 | 19.16 | 44232.5882 | 27.58 | 44232.6019 | 27.78 | 44232.618 | 28.64 | 44232.6254 | 28.57 | 44232.6451 | 37.79 | 44232.6579 | 38.01 | 44232.6738 | 37.32 | 44232.6836 | 37.49
44232.4438 | 0.94 | 44232.4487 | 0.97 | 44232.4543 | 1.09 | 44232.4658 | 1.1 | 44232.4816 | 8.83 | 44232.4888 | 8.96 | 44232.4948 | 8.83 | 44232.5006 | 8.84 | 44232.5168 | 19.16 | 44232.5237 | 19.5 | 44232.53 | 19.57 | 44232.5365 | 19.17 | 44232.5883 | 27.57 | 44232.6019 | 27.81 | 44232.6181 | 28.67 | 44232.6255 | 28.57 | 44232.6452 | 37.85 | 44232.6579 | 37.97 | 44232.6738 | 37.37 | 44232.6837 | 37.75
44232.4439 | 1.04 | 44232.4487 | 0.94 | 44232.4544 | 1.08 | 44232.4659 | 1.03 | 44232.4817 | 8.83 | 44232.4889 | 8.91 | 44232.4948 | 8.96 | 44232.5006 | 8.89 | 44232.5169 | 19.17 | 44232.5237 | 19.52 | 44232.53 | 19.54 | 44232.5366 | 19.14 | 44232.5884 | 27.76 | 44232.602 | 27.73 | 44232.6182 | 28.61 | 44232.6255 | 28.63 | 44232.6452 | 38.04 | 44232.658 | 38.03 | 44232.6739 | 37.07 | 44232.6838 | 37.5
44232.444 | 1.07 | 44232.4488 | 1.02 | 44232.4544 | 1.01 | 44232.466 | 1.05 | 44232.4818 | 8.91 | 44232.4889 | 8.97 | 44232.4949 | 8.88 | 44232.5007 | 8.87 | 44232.5169 | 19.17 | 44232.5238 | 19.59 | 44232.5301 | 19.48 | 44232.5366 | 19.05 | 44232.5884 | 27.65 | 44232.6021 | 27.73 | 44232.6182 | 28.67 | 44232.6256 | 28.63 | 44232.6453 | 37.85 | 44232.6581 | 37.99 | 44232.674 | 36.96 | 44232.6838 | 37.63
44232.444 | 1.13 | 44232.4489 | 1.03 | 44232.4545 | 1.04 | 44232.466 | 1.1 | 44232.4819 | 8.88 | 44232.489 | 8.94 | 44232.495 | 8.85 | 44232.5008 | 8.85 | 44232.517 | 19.19 | 44232.5239 | 19.53 | 44232.5302 | 19.51 | 44232.5367 | 19.09 | 44232.5885 | 27.57 | 44232.6021 | 27.83 | 44232.6183 | 28.6 | 44232.6257 | 28.53 | 44232.6454 | 37.93 | 44232.6581 | 38.14 | 44232.674 | 37 | 44232.6839 | 37.58
44232.4441 | 1.02 | 44232.4489 | 1.05 | 44232.4546 | 1.02 | 44232.4661 | 1.1 | 44232.4819 | 8.95 | 44232.4891 | 8.96 | 44232.495 | 8.94 | 44232.5008 | 8.84 | 44232.5171 | 19.2 | 44232.5239 | 19.51 | 44232.5303 | 19.52 | 44232.5368 | 19.2 | 44232.5886 | 27.73 | 44232.6022 | 27.84 | 44232.6184 | 28.61 | 44232.6257 | 28.47 | 44232.6454 | 37.88 | 44232.6582 | 38.14 | 44232.6741 | 37.4 | 44232.684 | 37.56
44232.4442 | 1.01 | 44232.449 | 1.05 | 44232.4546 | 1.13 | 44232.4662 | 1.12 | 44232.482 | 8.97 | 44232.4891 | 9.02 | 44232.4951 | 8.98 | 44232.5009 | 8.86 | 44232.5171 | 19.19 | 44232.524 | 19.48 | 44232.5303 | 19.48 | 44232.5369 | 19.15 | 44232.5886 | 27.77 | 44232.6023 | 27.78 | 44232.6184 | 28.57 | 44232.6258 | 28.48 | 44232.6455 | 38.01 | 44232.6583 | 38.07 | 44232.6742 | 37.76 | 44232.684 | 37.85
44232.4442 | 0.95 | 44232.4491 | 1.04 | 44232.4547 | 1.07 | 44232.4662 | 1.14 | 44232.4821 | 9 | 44232.4892 | 8.96 | 44232.4952 | 8.96 | 44232.501 | 8.83 | 44232.5172 | 19.2 | 44232.5241 | 19.58 | 44232.5304 | 19.57 | 44232.5369 | 19.19 | 44232.5887 | 27.69 | 44232.6023 | 27.79 | 44232.6185 | 28.53 | 44232.6259 | 28.5 | 44232.6456 | 38.09 | 44232.6583 | 38.24 | 44232.6742 | 37.84 | 44232.6841 | 37.76
44232.4443 | 0.93 | 44232.4492 | 0.99 | 44232.4548 | 1.02 | 44232.4663 | 1 | 44232.4821 | 8.99 | 44232.4893 | 8.96 | 44232.4953 | 8.9 | 44232.501 | 8.79 | 44232.5173 | 19.22 | 44232.5241 | 19.6 | 44232.5305 | 19.49 | 44232.537 | 19.25 | 44232.5888 | 27.78 | 44232.6024 | 27.87 | 44232.6186 | 28.58 | 44232.6259 | 28.65 | 44232.6456 | 38.09 | 44232.6584 | 38.2 | 44232.6743 | 37.75 | 44232.6842 | 37.41
44232.4444 | 0.97 | 44232.4492 | 1.02 | 44232.4548 | 0.96 | 44232.4664 | 1.04 | 44232.4822 | 8.99 | 44232.4894 | 8.96 | 44232.4953 | 8.88 | 44232.5011 | 8.75 | 44232.5173 | 19.23 |  |  | 44232.5305 | 19.52 | 44232.5371 | 19.09 | 44232.5889 | 27.83 | 44232.6025 | 27.85 | 44232.6186 | 28.59 | 44232.626 | 28.65 | 44232.6457 | 38.17 | 44232.6585 | 38.29 | 44232.6744 | 37.8 | 44232.6842 | 37.39
44232.4444 | 0.98 | 44232.4493 | 0.93 | 44232.4549 | 1.06 | 44232.4664 | 0.95 | 44232.4823 | 8.99 | 44232.4894 | 9.03 | 44232.4954 | 8.8 | 44232.5012 | 8.85 | 44232.5174 | 19.22 |  |  | 44232.5306 | 19.45 | 44232.5371 | 19.14 | 44232.5889 | 27.76 | 44232.6025 | 27.97 | 44232.6187 | 28.62 | 44232.6261 | 28.63 | 44232.6458 | 38.04 | 44232.6586 | 38.2 | 44232.6745 | 37.74 | 44232.6843 | 37.39
44232.4445 | 1.12 | 44232.4494 | 0.99 | 44232.455 | 1 | 44232.4665 | 1.03 | 44232.4823 | 8.95 | 44232.4895 | 9.02 | 44232.4955 | 8.86 | 44232.5013 | 8.85 | 44232.5175 | 19.26 |  |  | 44232.5307 | 19.47 | 44232.5372 | 19.08 | 44232.589 | 27.89 | 44232.6026 | 27.93 | 44232.6188 | 28.66 | 44232.6261 | 28.48 | 44232.6458 | 38.16 | 44232.6586 | 38.35 | 44232.6745 | 37.67 | 44232.6844 | 37.77
[6 empty] | 44232.4666 | 0.92 | 44232.4824 | 8.92 | 44232.4896 | 9.02 | 44232.4955 | 8.92 | 44232.5013 | 8.99 | 44232.5175 | 19.24 |  |  | 44232.5307 | 19.53 | 44232.5373 | 19.48 | 44232.5891 | 27.81 | 44232.6027 | 27.97 |  |  | 44232.6262 | 28.46 | 44232.6459 | 38.12 | 44232.6587 | 38.42 | 44232.6746 | 37.96 | 44232.6845 | 37.77
[6 empty] | 44232.4667 | 1.05 | 44232.4825 | 8.92 | 44232.4896 | 9.03 | 44232.4956 | 8.9 |  |  | 44232.5176 | 19.17 |  |  |  |  | 44232.5373 | 20.08 | 44232.5891 | 27.87 | 44232.6028 | 27.96 |  |  | 44232.6263 | 28.47 | 44232.646 | 38.3 | 44232.6588 | 38.34 | 44232.6747 | 37.81 | 44232.6845 | 37.87
[6 empty] | 44232.4667 | 0.94 | 44232.4825 | 8.94 | 44232.4897 | 9.04 | 44232.4957 | 8.97 |  |  | 44232.5177 | 19.25 | [6 empty] | 44232.5892 | 27.87 | 44232.6028 | 27.9 |  |  | 44232.6264 | 28.48 | 44232.6461 | 38.34 | 44232.6588 | 38.34 | 44232.6747 | 37.53 | 44232.6846 | 38.22
[6 empty] | 44232.4668 | 0.87 | 44232.4826 | 8.96 | 44232.4898 | 9.08 | 44232.4957 | 8.95 |  |  | 44232.5178 | 19.4 | [6 empty] | 44232.5893 | 27.94 |  |  |  |  | 44232.6264 | 28.53 | 44232.6461 | 38.29 | 44232.6589 | 38.35 | 44232.6748 | 37.91 | 44232.6847 | 38.3
[6 empty] | 44232.4669 | 0.92 | 44232.4827 | 8.96 | 44232.4898 | 9.05 | 44232.4958 | 9 |  |  | 44232.5178 | 19.31 | [6 empty] | 44232.5893 | 28 |  |  |  |  | 44232.6265 | 28.53 | 44232.6462 | 38.4 | 44232.659 | 38.58 | 44232.6749 | 37.8 | 44232.6847 | 38.13
[6 empty] | 44232.4669 | 0.97 |  |  | 44232.4899 | 9.02 | 44232.4959 | 8.96 |  |  | 44232.5179 | 19.32 | [6 empty] | 44232.5894 | 27.86 |  |  |  |  | 44232.6266 | 28.66 | 44232.6463 | 38.28 | 44232.659 | 38.48 | 44232.6749 | 37.57
[6 empty] | 44232.467 | 0.98 |  |  | 44232.49 | 8.96 | 44232.496 | 9.08 |  |  | 44232.518 | 19.32 | [6 empty] | 44232.5895 | 27.97 | [6 empty] | 44232.6463 | 38.44 | 44232.6591 | 38.6 | 44232.675 | 37.79
[6 empty] | 44232.4671 | 1.01 |  |  | 44232.49 | 8.96 | 44232.496 | 9.25 |  |  | 44232.518 | 19.18 | [6 empty] | 44232.5895 | 27.85 | [6 empty] | 44232.6464 | 38.33 | 44232.6592 | 38.44 | 44232.6751 | 38.08
[10 empty] | 44232.4901 | 8.96 |  |  |  |  | 44232.5181 | 19.21 | [6 empty] | 44232.5896 | 27.96 | [6 empty] | 44232.6465 | 38.3 | 44232.6592 | 38.47 | 44232.6752 | 37.88
[10 empty] | 44232.4902 | 9.04 |  |  |  |  | 44232.5182 | 19.29 | [6 empty] | 44232.5897 | 27.9 | [6 empty] | 44232.6465 | 38.37 | 44232.6593 | 38.58 | 44232.6752 | 37.67
[10 empty] | 44232.4903 | 9.01 |  |  |  |  | 44232.5182 | 19.38 | [6 empty] | 44232.5898 | 28.03 | [6 empty] | 44232.6466 | 38.33 | 44232.6594 | 38.67 | 44232.6753 | 37.9
[10 empty] | 44232.4903 | 8.95 |  |  |  |  | 44232.5183 | 19.33 | [6 empty] | 44232.5898 | 27.93 | [6 empty] | 44232.6467 | 38.34 | 44232.6595 | 38.71 | 44232.6754 | 37.88
[10 empty] | 44232.4904 | 9 |  |  |  |  | 44232.5184 | 19.33 | [6 empty] | 44232.5899 | 27.98 | [6 empty] | 44232.6467 | 38.33 | 44232.6595 | 38.54 | 44232.6754 | 38.18
[10 empty] | 44232.4905 | 8.98 |  |  |  |  | 44232.5184 | 19.3 | [6 empty] | 44232.59 | 28.02 | [6 empty] | 44232.6468 | 38.34 | 44232.6596 | 38.63
[10 empty] | 44232.4905 | 8.99 |  |  |  |  | 44232.5185 | 19.34 | [6 empty] | 44232.59 | 28.03
[16 empty] | 44232.5186 | 19.37 | [6 empty] | 44232.5901 | 28.07
[16 empty] | 44232.5187 | 19.39 | [6 empty] | 44232.5902 | 28.11
[16 empty] | 44232.5187 | 19.39 | [6 empty] | 44232.5903 | 28.18
[16 empty] | 44232.5188 | 19.42 | [6 empty] | 44232.5903 | 27.96
[16 empty] | 44232.5189 | 19.45

## gravimet time v normalized mass
Solution 2.5 M PGME (aq) | Volume 2 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.01573 | 100
1.5 | 0.00885 | 56.2619
3 | 0.00751 | 47.7432
3.5 | 0.00508 | 32.295
4.5 | 0.00417 | 26.5099
5.5 | 0.00228 | 14.4946
6.5 | 0 | 0
7.5 | 0.00087 | 5.5308
Solution 2.5 M PGME (aq) | Volume 5 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.00901 | 100
1.5 | 0.0079 | 87.6804
2.5 | 0.00625 | 69.3674
3.5 | 0.00576 | 63.929
4.5 | 0.00522 | 57.9356
5.5 | 0.00413 | 45.838
6.5 | 0.00327 | 36.293
7.5 | 0.00278 | 30.8546
8.5 | 0.00188 | 20.8657
9.5 | 0.00127 | 14.0954
10.5 | 0.00053 | 5.8824
11.5 | 0.00035 | 3.8846
13 | 0 | 0
Solution 2.5 M PGME (aq) | Volume 10 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.01993 | 100
1.5 | 0.01783 | 89.4631
2.5 | 0.0163 | 81.7863
3.5 | 0.0152 | 76.2669
4.5 | 0.01385 | 69.4932
5.5 | 0.0124 | 62.2178
6.5 | 0.0114 | 57.2002
7.5 | 0.01042 | 52.283
8.5 | 0.00942 | 47.2654
9.5 | 0.00841 | 42.1977
10.5 | 0.00777 | 38.9865
11.5 | 0.00642 | 32.2127
12.5 | 0.00595 | 29.8545
13.5 | 0.00512 | 25.6899
14.5 | 0.00412 | 20.6724
15.5 | 0.00354 | 17.7622
16.5 | 0.00268 | 13.4471
17.5 | 0.00215 | 10.7878
18.5 | 0.0014 | 7.0246
19.5 | 0.00079 | 3.9639
20.5 | 0 | 0
Solution 2.5 M PGME (in 30% ethanol) | Volume 2 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.0114 | 100
1.5 | 0.00656 | 57.5439
2.5 | 0.00588 | 51.5789
3.5 | 0.00452 | 39.6491
4.5 | 0.00369 | 32.3684
5.5 | 0 | 0
6.5 | 0.00134 | 11.7544
Solution 2.5 M PGME (in 30% ethanol) | Volume 5 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.01485 | 100
1.5 | 0.00971 | 65.3872
2.5 | 0.00789 | 53.1313
3.5 | 0.00642 | 43.2323
4.5 | 0.00475 | 31.9865
5.5 | 0.00258 | 17.3737
6.5 | 0.00241 | 16.229
7.5 | 0.00112 | 7.5421
9 | 0 | 0
Solution 2.5 M PGME (in 30% ethanol) | Volume 10 µL | Normalized Mass
Time (min) | Mass (g) | Percent
0 | 0.02073 | 100
1.5 | 0.01439 | 69.4163
3 | 0.01071 | 51.6643
3.5 | 0.01001 | 48.2875
4.5 | 0.00725 | 34.9735
5.5 | 0.00691 | 33.3333
6.5 | 0.00382 | 18.4274
7.5 | 0.00389 | 18.7651
8.5 | 0.00224 | 10.8056
9.5 | 0.00225 | 10.8538
10.5 | 0.00092 | 4.438
11.5 | 0 | 0

## replicates 10 microliter volume
Time (min) | 10 uL-replicate 1 | 10 uL- replicate 2 | 10 uL-replicate 3 | 10 uL- replicate 4 | 10 uL- repliates 5
0 | 0 | 0.11 | 0.04 | 0.01 | 0
0.1 | 0.01 | 0.15 | 0.06 | 0 | 0.14
0.22 | 0.07 | 0.15 | 0.09 | 0.05 | 0.04
0.32 | 0.1 | 0.16 | 0.09 | 0.02 | 0.18
0.42 | 0.1 | 0.28 | 0.14 | 0.03 | 0.16
0.52 | 0.12 | 0.21 | 0.08 | 0.06 | 0.14
0.62 | 0.17 | 0.21 | 0.15 | 0.14 | 0.07
0.72 | 0.2 | 0.2 | 0.15 | 0.11 | 0.21
0.82 | 0.2 | 0.37 | 0.1 | 0.22 | 0.26
0.91667 | 0.28 | 0.43 | 0.16 | 0.27 | 0.31
1.0167 | 0.33 | 0.36 | 0.26 | 0.27 | 0.43
1.1167 | 0.36 | 0.5 | 0.3 | 0.3 | 0.44
1.2167 | 0.27 | 0.41 | 0.37 | 0.32 | 0.38
1.3167 | 0.35 | 0.46 | 0.32 | 0.29 | 0.51
1.4167 | 0.31 | 0.52 | 0.33 | 0.39 | 0.62
1.5167 | 0.38 | 0.49 | 0.38 | 0.36 | 0.44
1.6167 | 0.37 | 0.44 | 0.41 | 0.5 | 0.59
1.7333 | 0.42 | 0.53 | 0.46 | 0.47 | 0.44
1.8333 | 0.4 | 0.55 | 0.5 | 0.39 | 0.49
1.9333 | 0.43 | 0.61 | 0.46 | 0.49 | 0.57
2.03 | 0.41 | 0.61 | 0.6 | 0.46 | 0.54
2.13 | 0.46 | 0.62 | 0.54 | 0.54 | 0.66
2.23 | 0.51 | 0.64 | 0.61 | 0.61 | 0.6
2.33 | 0.54 | 0.71 | 0.67 | 0.56 | 0.73
2.43 | 0.61 | 0.85 | 0.68 | 0.59 | 0.67
2.53 | 0.59 | 0.87 | 0.75 | 0.62 | 0.64
2.65 | 0.63 | 0.93 | 0.66 | 0.6 | 0.74
2.75 | 0.64 | 0.87 | 0.75 | 0.66 | 0.63
2.85 | 0.72 | 0.81 | 0.72 | 0.66 | 0.78
2.95 | 0.73 | 0.84 | 0.8 | 0.73 | 0.78
3.05 | 0.76 | 0.9 | 0.85 | 0.77 | 0.8
3.15 | 0.77 | 0.89 | 0.79 | 0.73 | 0.81
3.25 | 0.77 | 0.82 | 0.92 | 0.76 | 0.86
3.35 | 0.79 | 0.89 | 0.88 | 0.78 | 0.91
3.45 | 0.83 | 0.88 | 0.92 | 0.85 | 1
3.55 | 0.83 | 0.99 | 1.03 | 0.9 | 0.97
3.65 | 0.87 | 0.94 | 1.04 | 0.89 | 1
3.75 | 0.91 | 1.01 | 0.99 | 0.95 | 1.04
3.85 | 0.96 | 1.07 | 1.05 | 0.95 | 1.06
3.95 | 0.97 | 1.13 | 1.14 | 1.08 | 0.97
4.05 | 1.01 | 1.09 | 1.17 | 1.01 | 1.05
4.15 | 1 | 1.09 | 1.2 | 1.01 | 1.05
4.25 | 1.05 | 1.2 | 1.18 | 1.01 | 1.14
4.35 | 1 | 1.25 | 1.13 | 1.04 | 1.16
4.47 | 1.14 | 1.2 | 1.19 | 1.1 | 1.21
4.57 | 1.06 | 1.31 | 1.25 | 1.18 | 1.23
4.67 | 1.11 | 1.23 | 1.36 | 1.25 | 1.34
4.77 | 1.14 | 1.33 | 1.36 | 1.23 | 1.28
4.87 | 1.17 | 1.39 | 1.32 | 1.27 | 1.29
4.97 | 1.19 | 1.3 | 1.42 | 1.31 | 1.36
5.07 | 1.18 | 1.36 | 1.35 | 1.37 | 1.42
5.17 | 1.3 | 1.38 | 1.38 | 1.33 | 1.4
5.28 | 1.22 | 1.37 | 1.48 | 1.38 | 1.47
5.38 | 1.27 | 1.25 | 1.49 | 1.41 | 1.48
5.48 | 1.26 | 1.42 | 1.49 | 1.45 | 1.51
5.58 | 1.35 | 1.38 | 1.53 | 1.45 | 1.53
5.68 | 1.33 | 1.44 | 1.52 | 1.43 | 1.53
5.78 | 1.34 | 1.45 | 1.6 | 1.48 | 1.64
5.88 | 1.36 | 1.52 | 1.62 | 1.56 | 1.59
5.98 | 1.44 | 1.41 | 1.61 | 1.58 | 1.6
6.08 | 1.44 | 1.49 | 1.7 | 1.63 | 1.62
6.2 | 1.42 | 1.55 | 1.73 | 1.69 | 1.7
6.3 | 1.45 | 1.53 | 1.78 | 1.69 | 1.71
6.4 | 1.42 | 1.54 | 1.74 | 1.71 | 1.7
6.5 | 1.45 | 1.51 | 1.78 | 1.73 | 1.72
6.6 | 1.47 | 1.67 | 1.8 | 1.7 | 1.78
6.7 | 1.54 | 1.72 | 1.85 | 1.78 | 1.77
6.8 | 1.47 | 1.75 | 1.88 | 1.83 | 1.86
6.9 | 1.56 | 1.7 | 1.86 | 1.79 | 1.86
7 | 1.62 | 1.73 | 1.99 | 1.86 | 1.81
7.1 | 1.62 | 1.73 | 1.95 | 1.85 | 1.87
7.22 | 1.68 | 1.72 | 2.05 | 1.87 | 1.91
7.32 | 1.66 | 1.8 | 2.03 | 1.89 | 1.95
7.42 | 1.7 | 1.81 | 2.05 | 1.9 | 1.92
7.52 | 1.75 | 1.9 | 2.14 | 1.97 | 2
7.62 | 1.67 | 1.79 | 2.22 | 1.98 | 1.95
7.72 | 1.8 | 2 | 2.24 | 1.98 | 2.04
7.82 | 1.78 | 2 | 2.27 | 2.06 | 2.06
7.92 | 1.76 | 1.93 | 2.32 | 2.06 | 2.08
8.02 | 1.76 | 2.01 | 2.31 | 2.09 | 2.07
8.12 | 1.86 | 2.07 | 2.39 | 2.11 | 2.1
8.22 | 1.87 | 2.15 | 2.42 | 2.09 | 2.39
8.32 | 1.86 | 2.09 | 2.44 | 2.19 | 2.39
8.42 | 1.89 | 2.05 | 2.45 | 2.2 | 2.41
8.52 | 1.95 | 2.08 | 2.52 | 2.27 | 2.43
8.62 | 1.95 | 2.26 | 2.52 | 2.33 | 2.47
8.72 | 2.02 | 2.28 | 2.57 | 2.31 | 2.52
8.82 | 1.99 | 2.28 | 2.61 | 2.32 | 2.52
8.92 | 2.02 | 2.32 | 2.63 | 2.34 | 2.57
9.02 | 1.99 | 2.32 | 2.65 | 2.4 | 2.54
9.13 | 2.05 | 2.37 | 2.67 | 2.44 | 2.54
9.23 | 2.01 | 2.36 | 2.64 | 2.42 | 2.61
9.32 | 2.14 | 2.51 | 2.74 | 2.46 | 2.62
9.43 | 2.06 | 2.42 | 2.72 | 2.5 | 2.64
9.53 | 2.27 | 2.41 | 2.76 | 2.49 | 2.69
9.63 | 2.28 | 2.53 | 2.79 | 2.51 | 2.68
9.73 | 2.27 | 2.47 | 2.87 | 2.6 | 2.69
9.83 | 2.27 | 2.49 | 2.87 | 2.6 | 2.69
9.93 | 2.35 | 2.52 | 2.89 | 2.65 | 2.74
10.03 | 2.37 | 2.59 | 2.95 | 2.66 | 2.79
10.13 | 2.4 | 2.52 | 2.96 | 2.69 | 2.79
10.23 | 2.4 | 2.5 | 2.95 | 2.71 | 2.79
10.33 | 2.43 | 2.6 | 3.03 | 2.78 | 2.84
10.45 | 2.42 | 2.64 | 3.02 | 2.76 | 2.83
10.55 | 2.49 | 2.62 | 3.05 | 2.78 | 2.88
10.65 | 2.49 | 2.61 | 3.07 | 2.78 | 2.91
10.75 | 2.53 | 2.65 | 3.13 | 2.84 | 2.89
10.85 | 2.56 | 2.74 | 3.13 | 2.9 | 2.95
10.95 | 2.53 | 2.73 | 3.16 | 2.89 | 2.92
11.07 | 2.55 | 2.78 | 3.18 | 2.92 | 2.97
11.17 | 2.55 | 2.76 | 3.24 | 2.87 | 3
11.27 | 2.64 | 2.77 | 3.25 | 3 | 2.98
11.37 | 2.6 | 2.71 | 3.26 | 2.99 | 2.98
11.47 | 2.66 | 2.83 | 3.32 | 3.01 | 3.06
11.57 | 2.71 | 2.84 | 3.34 | 3.06 | 3.07
11.68 | 2.69 | 2.87 | 3.39 | 3.08 | 3.08
11.78 | 2.68 | 2.84 | 3.42 | 3.08 | 3.16
11.88 | 2.74 | 2.85 | 3.38 | 3.09 | 3.15
11.98 | 2.71 | 2.87 | 3.47 | 3.15 | 3.14
12.08 | 2.79 | 2.87 | 3.49 | 3.18 | 3.21
12.18 | 2.81 | 2.95 | 3.49 | 3.17 | 3.16
12.28 | 2.82 | 3 | 3.49 | 3.2 | 3.21
12.38 | 2.81 | 2.97 | 3.57 | 3.23 | 3.21
12.5 | 2.8 | 2.98 | 3.56 | 3.22 | 3.26
12.6 | 2.87 | 3 | 3.59 | 3.3 | 3.27
12.7 | 2.87 | 3.12 | 3.6 | 3.28 | 3.28
12.8 | 2.88 | 3.03 | 3.66 | 3.34 | 3.3
12.9 | 2.94 | 3.09 | 3.65 | 3.36 | 3.31
13 | 2.91 | 3.09 | 3.74 | 3.37 | 3.36
13.1 | 2.97 | 3.09 | 3.69 | 3.37 | 3.4
13.2 | 2.94 | 2.99 | 3.74 | 3.45 | 3.41
13.3 | 2.98 | 3.11 | 3.79 | 3.44 | 3.41
13.4 | 3.02 | 3.13 | 3.8 | 3.48 | 3.38
13.5 | 3.04 | 3.16 | 3.81 | 3.45 | 3.38
13.6 | 3.06 | 3.26 | 3.78 | 3.46 | 3.48
13.7 | 3.06 | 3.26 | 3.87 | 3.58 | 3.43
13.8 | 3.11 | 3.27 | 3.88 | 3.51 | 3.48
13.9 | 3.11 | 3.3 | 3.91 | 3.57 | 3.52
14 | 3.08 | 3.17 | 3.91 | 3.63 | 3.49
14.1 | 3.12 | 3.21 | 3.96 | 3.62 | 3.56
14.22 | 3.16 | 3.31 | 3.99 | 3.6 | 3.54
14.32 | 3.19 | 3.32 | 4.02 | 3.69 | 3.58
14.42 | 3.14 | 3.38 | 4.01 | 3.69 | 3.52
14.52 | 3.17 | 3.38 | 4.07 | 3.71 | 3.57
14.62 | 3.23 | 3.36 | 4.05 | 3.76 | 3.62
14.72 | 3.24 | 3.47 | 4.08 | 3.77 | 3.63
14.82 | 3.21 | 3.42 | 4.13 | 3.76 | 3.64
14.93 | 3.24 | 3.42 | 4.13 | 3.76 | 3.66
15.03 | 3.29 | 3.48 | 4.16 | 3.8 | 3.64
15.13 | 3.37 | 3.48 | 4.19 | 3.85 | 3.65
15.23 | 3.31 | 3.48 | 4.19 | 3.87 | 3.66
15.33 | 3.3 | 3.5 | 4.22 | 3.9 | 3.68
15.43 | 3.32 | 3.54 | 4.21 | 3.91 | 3.72
15.53 | 3.41 | 3.59 | 4.22 | 3.91 | 3.7
15.63 | 3.4 | 3.54 | 4.27 | 3.92 | 3.78
15.75 | 3.44 | 3.61 | 4.22 | 3.98 | 3.77
15.85 | 3.48 | 3.49 | 4.3 | 4 | 3.74
15.95 | 3.49 | 3.55 | 4.3 | 3.99 | 3.76
16.05 | 3.48 | 3.69 | 4.32 | 4.03 | 3.79
16.15 | 3.49 | 3.69 | 4.31 | 4 | 3.8
16.25 | 3.47 | 3.69 | 4.36 | 4.07 | 3.85
16.35 | 3.5 | 3.65 | 4.35 | 4.08 | 3.84
16.45 | 3.57 | 3.66 | 4.36 | 4.06 | 3.89
16.55 | 3.59 | 3.74 | 4.35 | 4.07 | 3.9
16.67 | 3.62 | 3.72 | 4.3 | 4.03 | 3.9
16.77 | 3.66 | 3.81 | 4.29 | 4.01 | 3.86
16.87 | 3.61 | 3.79 | 4.29 | 4.02 | 3.91
16.97 | 3.65 | 3.8 | 4.29 | 3.99 | 3.84
17.07 | 3.62 | 3.82 | 4.24 | 3.99 | 3.87
17.17 | 3.61 | 3.78 | 4.29 | 3.97 | 3.92
17.27 | 3.6 | 3.83 | 4.25 | 3.96 | 3.91
17.37 | 3.57 | 3.83 | 4.27 | 3.98 | 3.95
17.48 | 3.57 | 3.89 | 4.25 | 3.91 | 3.96
17.58 | 3.51 | 3.82 | 4.23 | 3.92 | 3.95
17.68 | 3.59 | 3.94 | 4.17 | 3.97 | 3.97
17.78 | 3.57 | 3.9 | 4.2 | 3.94 | 4.02
17.88 | 3.54 | 3.96 | 4.19 | 3.89 | 3.99
17.98 | 3.53 | 3.88 | 4.17 | 3.9 | 4.08
18.08 | 3.5 | 3.97 | 4.22 | 3.93 | 4.01
18.18 | 3.51 | 3.96 | 4.16 | 3.87 | 4.01
18.28 | 3.42 | 3.98 | 4.17 | 3.9 | 4.03
18.38 | 3.48 | 3.96 | 4.14 | 3.91 | 4.07
18.5 | 3.53 | 4.07 | 4.14 | 3.88 | 4.01
18.6 | 3.47 | 4.08 | 4.15 | 3.84 | 4
18.7 | 3.47 | 3.99 | 4.09 | 3.85 | 4.13
18.8 | 3.45 | 4.1 | 4.12 | 3.86 | 4.11
18.9 | 3.41 | 4.09 | 4.11 | 3.81 | 4.08
19 | 3.48 | 4.15 | 4.11 | 3.83 | 4.12
19.1 | 3.38 | 4.14 | 4.13 | 3.83 | 4.14
19.22 | 3.44 | 4.06 | 4.06 | 3.82 | 4.11
19.32 | 3.44 | 4.12 | 4.11 | 3.83 | 4.13
19.42 | 3.39 | 4.17 | 4.04 | 3.81 | 4.09
19.52 | 3.41 | 4.07 | 4.1 | 3.79 | 4.21
19.62 | 3.41 | 4.11 | 4.07 | 3.78 | 4.12
19.72 | 3.4 | 4.2 | 4.05 | 3.82 | 4.23
19.82 | 3.44 | 4.16 | 4.06 | 3.76 | 4.18
19.92 | 3.37 | 4.18 | 4.05 | 3.78 | 4.21
20.03 | 3.38 | 4.1 | 4.05 | 3.78 | 4.08
20.13 | 3.38 | 4.27 | 4.07 | 3.76 | 4.09
20.23 | 3.31 | 4.28 | 4.03 | 3.79 | 4.14
20.33 | 3.32 | 4.26 | 4.05 | 3.68 | 4.17
20.43 | 3.3 | 4.31 | 4.03 | 3.74 | 4.13
20.53 | 3.35 | 4.28 | 4.04 | 3.75 | 4.17
20.63 | 3.29 | 4.2 | 4.03 | 3.71 | 4.14
20.73 | 3.32 | 4.29 | 4.01 | 3.72 | 4.06
20.83 | 3.36 | 4.31 | 3.99 | 3.76 | 4.11
20.93 | 3.32 | 4.31 | 4 | 3.69 | 4.09
21.05 | 3.29 | 4.38 | 4.01 | 3.71 | 4.06
21.15 | 3.3 | 4.15 | 3.96 | 3.73 | 4.13
21.25 | 3.31 | 4.19 | 3.98 | 3.7 | 4.06
21.35 | 3.3 | 4.26 | 3.99 | 3.72 | 4.09
21.45 | 3.3 | 4.16 | 3.95 | 3.72 | 4.08
21.55 | 3.24 | 4.27 | 3.97 | 3.71 | 4.02
21.65 | 3.29 | 4.26 | 3.94 |  | 4.04
21.75 | 3.24 | 4.2 | 3.98 |  | 4
21.85 | 3.29 | 4.27 | 3.92 |  | 4.04
21.95 | 3.24 | 4.2 | 3.96 |  | 4.06
22.05 | 3.25 | 4.16 | 3.89 |  | 4.06
22.15 | 3.27 | 4.12 | 3.88 |  | 4.05
22.25 | 3.2 | 4.23 | 3.9 |  | 4.03
22.35 | 3.22 | 4.15 | 3.92 |  | 4.02
22.45 | 3.22 | 4.11 | 3.93 |  | 4.11
22.55 | 3.18 | 4.22 | 3.88 |  | 4.01
22.65 | 3.27 | 4.11 | 3.89 |  | 4.04
22.75 | 3.22 | 4.16 | 3.88 |  | 4.01
22.85 | 3.19 | 4.2 | 3.89 |  | 4
22.95 | 3.21 | 4.16 | 3.88 |  | 4.03
23.05 | 3.17 | 4.17 | 3.89 |  | 3.92
23.15 | 3.19 | 4.2 | 3.89 |  | 3.95
23.25 | 3.16 | 4.18 | 3.87 |  | 3.99
23.35 | 3.15 | 4.2 | 3.86 |  | 4.01
23.45 | 3.18 | 4.16 | 3.83 |  | 3.93
23.55 | 3.15 | 4.17 |  |  | 3.88
23.65 | 3.1 | 4.16 |  |  | 3.9
23.75 | 3.15 | 4.18 |  |  | 4.01
23.85 | 3.15 | 4.09 |  |  | 3.91
23.95 | 3.12 | 4.13 |  |  | 3.99
24.05 | 3.12 | 4.12 |  |  | 3.93
24.15 | 3.11 | 4.13 |  |  | 3.92
24.25 | 3.09 | 4.1 |  |  | 3.88
24.35 | 3.14 | 4.06 |  |  | 3.99
24.45 | 3.12 | 4.05 |  |  | 4.01
24.55 | 3.1 |  |  |  | 3.91
24.65 | 3.12 |  |  |  | 3.88
24.75 | 3.12 |  |  |  | 3.89
24.85 | 3.07 |  |  |  | 3.89
24.95 | 3.03 |  |  |  | 3.88
25.05 | 3.06
25.15 | 3.12
25.25 | 3.05
25.35 | 3.09
25.45 | 3.06
25.55 | 3.08
25.65 | 3.06
25.75 | 3.08
25.85 | 3.12
25.95 | 3.03
26.05 | 3.03
26.15 | 3.06
26.25 | 3.05
26.35 | 3.1
26.45 | 3.04
26.55 | 3.02
26.65 | 3.01
26.75 | 3.03
26.85 | 3.06
26.95 | 3.02
27.05 | 2.99
27.15 | 2.94
27.25 | 3.07
27.35 | 2.94
27.45 | 2.96
27.55 | 2.96
27.65 | 2.99
27.75 | 2.95
27.85 | 2.95
27.95 | 2.94
28.05 | 2.94
28.15 | 2.96
28.25 | 2.96
28.35 | 2.94
28.45 | 2.94
28.55 | 2.91
28.65 | 2.91
28.75 | 2.9
28.85 | 2.92
28.95 | 2.92
29.05 | 2.95
29.15 | 2.97
29.25 | 2.89
29.35 | 2.9
29.45 | 2.94
29.55 | 2.91
29.65 | 2.88
29.75 | 2.91
29.85 | 2.91
29.95 | 2.9
30.05 | 2.89
30.15 | 2.88
30.25 | 2.9
30.35 | 2.84
30.45 | 2.91
30.55 | 2.89
30.65 | 2.87
30.75 | 2.88
30.85 | 2.85
30.95 | 2.83
31.05 | 2.88
31.15 | 2.86
31.25 | 2.82
31.35 | 2.83
31.45 | 2.85
31.55 | 2.84
31.65 | 2.82
31.75 | 2.84
31.85 | 2.81
31.95 | 2.82
32.05 | 2.8
32.15 | 2.83
32.25 | 2.8
32.35 | 2.79
32.45 | 2.74
32.55 | 2.77
32.65 | 2.83
32.75 | 2.81
32.85 | 2.78
32.95 | 2.77
33.05 | 2.76
33.15 | 2.75
33.25 | 2.77
33.35 | 2.77
33.45 | 2.73
33.55 | 2.8
33.65 | 2.77
33.75 | 2.78
33.85 | 2.74
33.95 | 2.77
34.05 | 2.75
34.15 | 2.75
34.25 | 2.75
34.35 | 2.73
34.45 | 2.74
34.55 | 2.71
34.65 | 2.72
34.75 | 2.69
34.85 | 2.68
34.95 | 2.72
35.05 | 2.7
35.15 | 2.7
35.25 | 2.72
35.35 | 2.72
35.45 | 2.7
35.55 | 2.69
35.65 | 2.65
35.75 | 2.7
35.85 | 2.68
35.95 | 2.68
36.05 | 2.68
36.15 | 2.69
36.25 | 2.67
36.35 | 2.68
36.45 | 2.65
36.55 | 2.65
36.65 | 2.64
36.75 | 2.66
36.85 | 2.66
36.95 | 2.67
37.05 | 2.68
37.15 | 2.64
37.25 | 2.62
37.35 | 2.68
37.45 | 2.63
37.55 | 2.7
37.65 | 2.61
37.75 | 2.66
37.85 | 2.63
37.95 | 2.6
38.05 | 2.61
38.15 | 2.65
38.25 | 2.6
38.35 | 2.6
38.45 | 2.61

## Headspace releases with an
Time (min) | [PGME] aq | Time (min) | [PGME]+ ethanol
0 | 0 | 0 | 0
0.1 | 0 | 0.1 | 0
0.22 | 0 | 0.2 | 0
0.32 | 0 | 0.3 | 0
0.42 | 0 | 0.4 | 0
0.52 | 0 | 0.5 | 0
0.62 | 0 | 0.6 | 0
0.72 | 0 | 0.7 | 0
0.82 | 0 | 0.8 | 0
0.92 | 0 | 0.9 | 0.22
1.02 | 0 | 1 | 0.47
1.12 | 0 | 1.1 | 0.76
1.22 | 0 | 1.2 | 0.61
1.32 | 0 | 1.3 | 0.89
1.42 | 0 | 1.4 | 0.59
1.52 | 0 | 1.5 | 0.52
1.62 | 0 | 1.6 | 0.66
1.72 | 0 | 1.7 | 0.6
1.82 | 0 | 1.8 | 0.64
1.92 | 0.2 | 1.9 | 0.44
2.02 | 0.21 | 2.02 | 0.76
2.12 | 0.21 | 2.12 | 0.54
2.22 | 0.29 | 2.22 | 0.65
2.32 | 0.43 | 2.32 | 0.56
2.42 | 0.32 | 2.42 | 0.38
2.52 | 0.37 | 2.52 | 0.64
2.62 | 0.36 | 2.62 | 0.53
2.72 | 0.2 | 2.72 | 0.44
2.82 | 0.49 | 2.82 | 0.51
2.92 | 0.44 | 2.92 | 0.52
3.02 | 0.53 | 3.02 | 0.71
3.12 | 0.52 | 3.12 | 0.64
3.22 | 0.17 | 3.22 | 0.42
3.32 | 0.47 | 3.32 | 0.73
3.42 | 0.14 | 3.42 | 0.62
3.52 | 0.23 | 3.52 | 0.49
3.62 | 0.4 | 3.62 | 0.82
3.72 | 0.41 | 3.72 | 0.82
3.82 | 0.33 | 3.82 | 0.24
3.93 | 0.38 | 3.92 | 0.6
4.03 | 0.23 | 4.02 | 0.35
4.13 | 0.32 | 4.12 | 0.54
4.23 | 0.14 | 4.22 | 0.47
4.33 | 0.29 | 4.32 | 0.43
4.43 | 0.36 | 4.42 | 0.77
4.53 | 0.41 | 4.52 | 0.77
4.63 | 0.32 | 4.62 | 0.68
4.73 | 0.31 | 4.72 | 0.79
4.83 | 0.2 | 4.82 | 0.85
4.93 | 0.19 | 4.92 | 0.53
5.03 | 0.29 | 5.03 | 0.59
5.13 | 0.25 | 5.13 | 0.62
5.23 | 0.13 | 5.23 | 0.81
5.33 | 0.35 | 5.33 | 0.64
5.43 | 0.31 | 5.43 | 0.51
5.53 | 0.2 | 5.53 | 0.75
5.63 | 0.21 | 5.63 | 0.51
5.73 | 0.32 | 5.73 | 0.51
5.83 | 0.12 | 5.83 | 0.72
5.93 | 0.35 | 5.93 | 0.67
6.03 | 0.18 | 6.03 | 0.63
6.13 | 0.24 | 6.13 | 0.57
6.23 | 0.32 | 6.23 | 0.51
6.33 | 0.23 | 6.33 | 0.23
6.45 | 0.31 | 6.43 | 0.78
6.55 | 0.13 | 6.53 | 0.53
6.65 | 0.24 | 6.63 | 0.62
6.75 | 0.26 | 6.73 | 0.33
6.85 | 0.41 | 6.83 | 0.95
6.95 | 0.43 | 6.93 | 1.25
7.05 | 0.1 | 7.03 | 1.12
7.15 | 0.27 | 7.13 | 1.19
7.25 | 0.18 | 7.23 | 1.48
7.35 | 0.21 | 7.33 | 1.31
7.45 | 0.31 | 7.43 | 1.43
7.55 | 0.21 | 7.53 | 1.36
7.65 | 0.19 | 7.63 | 1.22
7.75 | 0.16 | 7.73 | 1.21
7.85 | 0.37 | 7.83 | 1.39
7.95 | 0.14 | 7.93 | 1.2
8.05 | 0.32 | 8.03 | 1.45
8.15 | 0.36 | 8.13 | 1.16
8.25 | 0.46 | 8.23 | 1.1
8.35 | 0.39 | 8.35 | 1.05
8.47 | 0.19 | 8.45 | 1.2
8.57 | 0.2 | 8.55 | 1.13
8.67 | 0.3 | 8.65 | 1.25
8.75 | 0.33 | 8.75 | 1.17
8.87 | 0.32 | 8.85 | 1.52
8.97 | 0.26 | 8.95 | 1.11
9.07 | 0.29 | 9.05 | 1.25
9.17 | 0.14 | 9.15 | 1.31
9.27 | 0.25 | 9.25 | 1.07
9.37 | 0.23 | 9.35 | 1.23
9.47 | 0.01 | 9.45 | 1.42
9.57 | 0.15 | 9.55 | 1.23
9.67 | 0.36 | 9.65 | 1.21
9.77 | 0.08 | 9.75 | 1.11
9.87 | 0.35 | 9.85 | 1.43
9.97 | 0.28 | 9.95 | 1.41
10.07 | 0.34 | 10.05 | 1.14
10.17 | 0.27 | 10.15 | 1.33
10.27 | 0.45 | 10.25 | 1.26
10.37 | 0.09 | 10.35 | 1.23
10.47 | 0.1 | 10.45 | 1.1
10.57 | 0.29 | 10.55 | 1.56
10.67 | 0.16 | 10.65 | 0.98
10.77 | 0.15 | 10.75 | 1.28
10.87 | 0.23 | 10.85 | 1.39
10.97 | 0.08 | 10.95 | 1.23
11.07 | 0 | 11.05 | 1.15
11.17 | 0.28 | 11.17 | 1.44
11.27 | 0.17 | 11.27 | 1.02
11.37 | 0.27 | 11.37 | 1.17
11.47 | 0.07 | 11.47 | 1.18
11.57 | 0.13 | 11.57 | 1.07
11.67 | 0 | 11.67 | 0.9
11.77 | 0.33 | 11.77 | 1.23
11.88 | 0.41 | 11.87 | 1.32
11.98 | 0.22 | 11.97 | 1.3
12.08 | 0.24 | 12.07 | 1.11
12.18 | 0.22 | 12.17 | 1.33
12.28 | 0.49 | 12.27 | 1.27
12.38 | 0.2 | 12.37 | 0.98
12.48 | 0.33 | 12.47 | 1.59
12.58 | 0.26 | 12.57 | 1.65
12.68 | 0.27 | 12.67 | 1.97
12.78 | 0.37 | 12.77 | 1.97
12.88 | 0.85 | 12.87 | 2.03
12.98 | 0.84 | 12.97 | 1.96
13.08 | 0.93 | 13.07 | 1.79
13.18 | 1.02 | 13.17 | 1.96
13.28 | 0.96 | 13.27 | 2.1
13.38 | 1.04 | 13.37 | 1.88
13.48 | 0.87 | 13.47 | 1.86
13.58 | 0.97 | 13.57 | 2.07
13.68 | 1.07 | 13.67 | 1.76
13.78 | 0.99 | 13.77 | 2.1
13.88 | 0.97 | 13.87 | 1.97
13.98 | 0.98 | 13.97 | 1.74
14.08 | 1.11 | 14.07 | 1.63
14.18 | 0.86 | 14.17 | 1.81
14.28 | 1.04 | 14.27 | 1.85
14.38 | 1.26 | 14.37 | 1.98
14.48 | 1.08 | 14.48 | 1.71
14.58 | 0.88 | 14.58 | 1.67
14.68 | 1.01 | 14.68 | 1.85
14.78 | 1.23 | 14.78 | 1.69
14.88 | 0.44 | 14.88 | 1.86
14.98 | 0.73 | 14.98 | 1.69
15.08 | 0.99 | 15.08 | 1.97
15.18 | 0.86 | 15.18 | 1.85
15.28 | 0.74 | 15.28 | 1.93
15.38 | 0.71 | 15.38 | 1.61
15.48 | 0.8 | 15.48 | 1.78
15.58 | 0.94 | 15.58 | 1.77
15.7 | 0.79 | 15.68 | 2.05
15.8 | 0.92 | 15.78 | 2.1
15.9 | 0.81 | 15.88 | 1.84
16 | 0.77 | 15.98 | 1.99
16.1 | 1.03 | 16.08 | 1.94
16.2 | 1.02 | 16.18 | 1.95
16.3 | 0.91 | 16.28 | 2
16.4 | 0.88 | 16.38 | 1.97
16.5 | 0.87 | 16.48 | 1.74
16.6 | 0.86 | 16.58 | 1.8
16.7 | 0.73 | 16.68 | 1.51
16.8 | 0.61 | 16.8 | 1.77
16.9 | 0.82 | 16.9 | 1.59
17 | 0.97 | 17 | 1.94
17.1 | 0.56 | 17.1 | 1.89
17.2 | 0.75 | 17.2 | 1.62
17.3 | 0.65 | 17.3 | 1.88
17.4 | 0.75 | 17.4 | 1.96
17.5 | 0.88 | 17.5 | 1.73
17.6 | 0.98 | 17.6 | 1.98
17.7 | 0.87 | 17.7 | 1.81
17.8 | 0.57 | 17.8 | 1.76
17.9 | 0.98 | 17.9 | 1.64
18 | 0.57 | 18 | 1.74
18.1 | 0.98 | 18.1 | 1.75
18.2 | 0.66 | 18.2 | 1.51
18.3 | 0.83 | 18.3 | 1.79
18.4 | 0.86 | 18.4 | 1.83
18.5 | 0.74 | 18.5 | 2
18.6 | 0.66 | 18.6 | 2.02
18.7 | 0.77 | 18.7 | 1.98
18.8 | 0.85 | 18.8 | 2.04
18.9 | 0.55 | 18.9 | 2.43
19 | 0.79 | 19 | 2.59
19.1 | 0.54 | 19.1 | 2.4
19.2 | 0.84 | 19.22 | 2.82
19.3 | 0.78 | 19.32 | 2.29
19.4 | 0.84 | 19.42 | 2.78
19.5 | 0.7 | 19.52 | 2.35
19.6 | 0.9 | 19.62 | 2.55
19.72 | 0.71 | 19.72 | 2.41
19.82 | 0.86 | 19.82 | 2.37
19.92 | 0.81 | 19.92 | 2.67
20.02 | 0.65 | 20.02 | 2.48
20.12 | 1.17 | 20.12 | 2.58
20.22 | 1.33 | 20.22 | 2.25
20.32 | 1.44 | 20.32 | 2.64
20.42 | 1.57 | 20.42 | 2.74
20.52 | 1.47 | 20.52 | 2.58
20.62 | 1.22 | 20.62 | 2.86
20.72 | 1.42 | 20.72 | 2.42
20.82 | 1.56 | 20.82 | 2.36
20.92 | 1.38 | 20.92 | 2.38
21.02 | 0.99 | 21.02 | 2.61
21.12 | 1.21 | 21.12 | 2.38
21.22 | 1.38 | 21.22 | 2.58
21.32 | 1.34 | 21.32 | 2.4
21.42 | 1.38 | 21.42 | 2.49
21.52 | 1.3 | 21.52 | 2.44
21.62 | 1.49 | 21.62 | 2.7
21.72 | 1.34 | 21.72 | 2.55
21.82 | 1.41 | 21.82 | 2.47
21.92 | 1.56 | 21.93 | 2.39
22.02 | 1.26 | 22.03 | 2.56
22.12 | 1.44 | 22.13 | 2.34
22.22 | 1.38 | 22.23 | 2.21
22.32 | 1.34 | 22.33 | 2.27
22.42 | 1.29 | 22.43 | 2.76
22.52 | 1.27 | 22.53 | 2.53
22.62 | 1.19 | 22.63 | 2.35
22.72 | 1.22 | 22.73 | 2.35
22.82 | 1.22 | 22.83 | 2.25
22.92 | 1.22 | 22.93 | 2.54
23.02 | 1.16 | 23.03 | 2.67
23.12 | 1.54 | 23.13 | 2.19
23.23 | 1.24 | 23.23 | 2.36
23.33 | 1.27 | 23.33 | 2.44
23.43 | 1.34 | 23.45 | 2.6
23.53 | 1.2 | 23.55 | 2.54
23.63 | 1.28 | 23.65 | 2.46
23.73 | 1.32 | 23.75 | 2.19
23.83 | 1.22 | 23.85 | 2.44
23.93 | 1.31 | 23.95 | 2.36
24.03 | 1.21 | 24.05 | 2.19
24.13 | 1.45 | 24.15 | 2.29
24.23 | 1.3 | 24.25 | 2.39
24.33 | 1.22 | 24.35 | 2.61
24.43 | 1 | 24.45 | 2.38
24.53 | 1.2 | 24.55 | 2.42
24.63 | 1.27 | 24.65 | 2.25
24.73 | 1.27 | 24.75 | 2.43
24.83 | 1.18 | 24.85 | 2.38
24.93 | 1.39 | 24.95 | 2.61
25.03 | 1.24 | 25.05 | 2.24
25.13 | 1.23 | 25.15 | 2.66
25.23 | 1.3 | 25.25 | 2.44
25.35 | 1.26 | 25.35 | 2.46
25.45 | 1.26 | 25.45 | 2.42
25.55 | 1.42 | 25.55 | 2.41
25.65 | 1.32 | 25.65 | 2.43
25.75 | 1.19 | 25.75 | 2.4
25.85 | 1.2 | 25.85 | 2.42
25.95 | 1.19 | 25.95 | 2.39
26.05 | 1.4 | 26.07 | 2.76
26.15 | 1.32 | 26.17 | 2.38
26.25 | 1.09 | 26.27 | 2.87
26.35 | 1.44 | 26.37 | 2.39
26.45 | 1.36 | 26.47 | 3.02
26.55 | 1.28 | 26.57 | 2.94
26.65 | 1.3 | 26.68 | 3.05
26.75 | 1.31 | 26.78 | 3.07
26.85 | 1.19 | 26.88 | 2.62
26.95 | 1.5 | 26.98 | 2.77
27.05 | 1.45 | 27.08 | 2.77
27.15 | 1.28 | 27.18 | 2.71
27.27 | 1.32 | 27.28 | 2.73
27.37 | 1.35 | 27.38 | 2.37
27.47 | 1.58 | 27.48 | 2.75
27.57 | 1.27 | 27.58 | 2.89
27.67 | 1.53 | 27.68 | 2.67
27.77 | 1.46 | 27.78 | 2.82
27.87 | 1.45 | 27.88 | 2.71
27.97 | 1.37 | 27.98 | 2.51
28.07 | 1.59 | 28.08 | 2.82
28.17 | 1.58 | 28.2 | 2.91
28.27 | 1.41 | 28.3 | 2.57
28.37 | 1.5 | 28.4 | 2.59
28.47 | 1.42 | 28.5 | 2.76
28.57 | 1.29 | 28.6 | 2.8
28.67 | 1.63 | 28.7 | 2.7
28.78 | 1.42 | 28.8 | 2.7
28.88 | 1.59 | 28.9 | 2.92
28.98 | 1.53 | 29 | 2.48
29.08 | 1.44 | 29.1 | 2.77
29.18 | 1.34 | 29.2 | 2.7
29.28 | 1.54 | 29.3 | 2.7
29.38 | 1.39 | 29.4 | 2.56
29.48 | 1.48 | 29.5 | 2.36
29.58 | 1.57 | 29.6 | 2.72
29.68 | 1.54 | 29.7 | 2.71
29.8 | 1.29 | 29.8 | 2.59
29.9 | 1.67 | 29.9 | 3.03
30 | 1.34 | 30 | 2.69
30.1 | 1.56 | 30.1 | 2.39
30.2 | 1.42 | 30.2 | 2.82
30.3 | 1.53 | 30.3 | 2.91
30.4 | 1.48 | 30.4 | 2.75
30.5 | 1.59
30.6 | 1.51
30.7 | 1.4
30.8 | 1.56
30.9 | 1.77
31 | 1.14
31.1 | 1.74
31.2 | 1.2
31.3 | 1.57
31.4 | 1.45
31.5 | 1.4
31.6 | 1.66
31.7 | 1.59
31.8 | 1.61
31.9 | 1.45
32 | 1.38
32.1 | 1.78
32.2 | 1.61
32.3 | 1.72
32.4 | 1.61
32.5 | 1.57
32.6 | 1.61
32.7 | 1.56
32.8 | 1.49
32.9 | 1.82
33 | 1.79
33.12 | 1.65
33.22 | 1.86
33.32 | 1.5
33.42 | 1.95
33.52 | 1.84
33.62 | 1.67
33.72 | 1.92
33.82 | 2.03
33.92 | 1.93
34.02 | 2.09
34.13 | 1.95
34.23 | 1.94
34.33 | 2.04
34.43 | 2.11
34.53 | 1.92
34.63 | 1.97
34.73 | 2.13
34.83 | 2.15
34.93 | 2.27
35.03 | 2.26
35.13 | 2.15
35.23 | 1.99
35.33 | 2.19
35.43 | 2.02
35.53 | 2.03
35.63 | 2.14
35.73 | 2.29
35.83 | 2.07
35.93 | 1.95
36.03 | 2.06
36.13 | 2.22
36.23 | 2.24
36.33 | 2.07
36.43 | 2.26
36.53 | 2.15
36.63 | 1.91
36.73 | 1.95
36.83 | 2.14
36.93 | 2.21
37.03 | 2.05
37.15 | 2.21
37.25 | 2.27
37.35 | 2.19
37.45 | 1.96
37.55 | 1.93
37.65 | 2.15
37.75 | 2.1
37.85 | 2.04
37.95 | 2.14
38.05 | 2.01
38.15 | 2.14
38.25 | 2.18
38.35 | 2.1
38.45 | 2.08
38.55 | 2.1
38.65 | 1.98
38.75 | 2.12
38.85 | 2.16
38.95 | 1.97
39.05 | 2.13
39.15 | 2.09
39.27 | 2.02
39.37 | 1.92
39.47 | 1.99
39.57 | 2.1
39.67 | 2.06
39.77 | 2.3
39.87 | 1.96
39.97 | 1.81
40.07 | 2.12
40.17 | 2.06
40.27 | 2.01
40.37 | 2.08
40.47 | 2.29
40.57 | 1.89
40.67 | 2.06

## N2 purge
Time (min) | response in N2 purged chamber (PGME ppmv) | resposne in chamber with lab air (PGME ppmv) | resposne in partially N2 purged chamber (PGME ppmv)
0.1 | 0 | 0 | 0
0.2 | 0.05 | 0.06 | 0.05
0.3 | 0.023333 | 0.053333 | 0.03
0.4 | 0.036667 | 0.066667 | 0.06
0.5 | 0.066667 | 0.07 | 0.08
0.6 | 0.036667 | 0.096667 | 0.03
0.7 | 0.076667 | 0.13333 | 0.1
0.8 | 0.07 | 0.10333 | 0.02
0.9 | 0.11667 | 0.13667 | 0.04
1 | 0.1 | 0.17667 | 0.08
1.1 | 0.083333 | 0.11667 | 0.08
1.2 | 0.10333 | 0.22667 | 0.07
1.3 | 0.14667 | 0.17333 | 0.11
1.4 | 0.12 | 0.27667 | 0.11
1.5 | 0.15333 | 0.22 | 0.11
1.6 | 0.16 | 0.18333 | 0.18
1.7 | 0.15 | 0.19333 | 0.15
1.8 | 0.19333 | 0.31667 | 0.15
1.9 | 0.22667 | 0.28 | 0.19
2 | 0.16667 | 0.34 | 0.22
2.1 | 0.24667 | 0.28 | 0.19
2.2 | 0.21 | 0.33667 | 0.19
2.3 | 0.23 | 0.35 | 0.24
2.4 | 0.27667 | 0.36333 | 0.27
2.5 | 0.28 | 0.31 | 0.26
2.6 | 0.26667 | 0.40667 | 0.27
2.7 | 0.28 | 0.40333 | 0.3
2.8 | 0.32 | 0.37667 | 0.25
2.9 | 0.33333 | 0.43333 | 0.26
3 | 0.30667 | 0.43667 | 0.26
3.1 | 0.32333 | 0.46667 | 0.33
3.2 | 0.30333 | 0.43667 | 0.36
3.3 | 0.34333 | 0.49 | 0.38
3.4 | 0.38667 | 0.44 | 0.31
3.5 | 0.35667 | 0.53333 | 0.36
3.6 | 0.42667 | 0.5 | 0.34
3.7 | 0.40333 | 0.49667 | 0.37
3.8 | 0.39 | 0.52333 | 0.4
3.9 | 0.43 | 0.53333 | 0.38
4 | 0.47 | 0.52 | 0.34
4.1 | 0.49333 | 0.55667 | 0.37
4.2 | 0.43333 | 0.61667 | 0.39
4.3 | 0.47667 | 0.62 | 0.37
4.4 | 0.48 | 0.62 | 0.38
4.5 | 0.45 | 0.58333 | 0.42
4.6 | 0.54 | 0.60333 | 0.42
4.7 | 0.53333 | 0.65 | 0.4
4.8 | 0.55333 | 0.62 | 0.42
4.9 | 0.55333 | 0.61 | 0.45
5 | 0.56333 | 0.66667 | 0.48
5.1 | 0.59667 | 0.59 | 0.46
5.2 | 0.59 | 0.64667 | 0.46
5.3 | 0.59 | 0.76 | 0.48
5.4 | 0.64 | 0.70667 | 0.46
5.5 | 0.62 | 0.76 | 0.46
5.6 | 0.65 | 0.71667 | 0.45
5.7 | 0.67 | 0.74667 | 0.52
5.8 | 0.64667 | 0.74667 | 0.49
5.9 | 0.66 | 0.76667 | 0.5
6 | 0.68 | 0.80333 | 0.54
6.1 | 0.66 | 0.75 | 0.59
6.2 | 0.71667 | 0.78 | 0.52
6.3 | 0.67667 | 0.81333 | 0.55
6.4 | 0.74 | 0.85333 | 0.58
6.5 | 0.73333 | 0.84667 | 0.56
6.6 | 0.78 | 0.89667 | 0.59
6.7 | 0.77667 | 0.83 | 0.59
6.8 | 0.75667 | 0.85333 | 0.6
6.9 | 0.77667 | 0.88667 | 0.62
7 | 0.77667 | 0.88333 | 0.64
7.1 | 0.80333 | 0.90333 | 0.51
7.2 | 0.83 | 0.86 | 0.59
7.3 | 0.8 | 0.93667 | 0.67
7.4 | 0.78333 | 1.0367 | 0.62
7.5 | 0.83333 | 0.93667 | 0.61
7.6 | 0.85 | 0.90667 | 0.72
7.7 | 0.83667 | 0.92333 | 0.63
7.8 | 0.76667 | 0.96 | 0.7
7.9 | 0.80667 | 0.97 | 0.74
8 | 0.85667 | 0.97333 | 0.67
8.1 | 0.81 | 0.99 | 0.69
8.2 | 0.81667 | 1.0633 | 0.77
8.3 | 0.81 | 0.94667 | 0.67
8.4 | 0.77333 | 1.03 | 0.71
8.5 | 0.79 | 1.02 | 0.73
8.6 | 0.74 | 1.01 | 0.68
8.7 | 0.70333 | 1.0267 | 0.75
8.8 | 0.77333 | 1.0567 | 0.72
8.9 | 0.73667 | 1.0333 | 0.68
9 | 0.70667 | 1.0467 | 0.7
9.1 | 0.71 | 1.0967 | 0.69
9.2 | 0.7 | 1.09 | 0.75
9.3 | 0.70333 | 1.0467 | 0.74
9.4 | 0.70333 | 1.1333 | 0.72
9.5 | 0.69333 | 1.14 | 0.75
9.6 | 0.67 | 1.1567 | 0.77
9.7 | 0.68667 | 1.1367 | 0.78
9.8 | 0.68 | 1.11 | 0.73
9.9 | 0.65 | 1.1533 | 0.76
10 | 0.63333 | 1.1167 | 0.8
10.1 | 0.68333 | 1.1367 | 0.78
10.2 | 0.65333 | 1.18 | 0.83
10.3 | 0.66333 | 1.13 | 0.76
10.4 | 0.56667 | 1.1667 | 0.76
10.5 | 0.57 | 1.2167 | 0.96
10.6 | 0.58333 | 1.1867 | 0.81
10.7 | 0.62 | 1.1833 | 0.77
10.8 | 0.59667 | 1.2267 | 0.82
10.9 | 0.61333 | 1.2033 | 0.91
11 | 0.59 | 1.2067 | 0.84
11.1 | 0.57667 | 1.2233 | 0.87
11.2 | 0.58667 | 1.25 | 0.76
11.3 | 0.52333 | 1.1733 | 0.89
11.4 | 0.59 | 1.2667 | 0.83
11.5 | 0.55 | 1.2067 | 0.86
11.6 | 0.54333 | 1.2633 | 0.91
11.7 | 0.52667 | 1.28 | 0.89
11.8 | 0.53667 | 1.2533 | 0.85
11.9 | 0.50333 | 1.2967 | 0.84
12 | 0.505 | 1.3133 | 0.94
12.1 | 0.545 | 1.2433 | 0.98
12.2 | 0.5 | 1.3 | 0.95
12.3 | 0.485 | 1.2933 | 0.99
12.4 | 0.495 | 1.33 | 0.89
12.5 | 0.505 | 1.36 | 0.89
12.6 | 0.455 | 1.2967 | 0.91
12.7 | 0.465 | 1.3567 | 0.97
12.8 | 0.455 | 1.4033 | 0.98
12.9 | 0.47 | 1.2833 | 0.86
13 | 0.47 | 1.36 | 0.92
13.1 |  | 1.3633 | 0.84
13.2 |  | 1.4 | 0.92
13.3 |  | 1.3833 | 0.83
13.4 |  | 1.39 | 0.9
13.5 |  | 1.33 | 0.84
13.6 |  | 1.4133 | 0.78
13.7 |  | 1.3733 | 0.9
13.8 |  | 1.3633 | 0.88
13.9 |  | 1.3833 | 0.78
14 |  | 1.37 | 0.79
14.1 |  | 1.3867 | 0.79
14.2 |  | 1.45 | 0.89
14.3 |  | 1.47 | 0.82
14.4 |  | 1.4367 | 0.85
14.5 |  | 1.46 | 0.81
14.6 |  | 1.38 | 0.82
14.7 |  | 1.44 | 0.79
14.8 |  | 1.4567 | 0.75
14.9 |  | 1.4333 | 0.77
15 |  | 1.4967 | 0.76
15.1 |  | 1.4767 | 0.84
15.2 |  | 1.4967 | 0.8
15.3 |  | 1.4533 | 0.79
15.4 |  | 1.42 | 0.77
15.5 |  | 1.4733 | 0.8
15.6 |  | 1.52 | 0.78
15.7 |  | 1.4833 | 0.74
15.8 |  | 1.51 | 0.81
15.9 |  | 1.4833 | 0.8
16 |  | 1.4567 | 0.8
16.1 |  | 1.51 | 0.77
16.2 |  | 1.5333 | 0.74
16.3 |  | 1.4933 | 0.82
16.4 |  | 1.4667 | 0.73
16.5 |  | 1.5033 | 0.71
16.6 |  | 1.5033 | 0.76
16.7 |  | 1.4967 | 0.75
16.8 |  | 1.4867 | 0.75
16.9 |  | 1.4767 | 0.72
17 |  | 1.5067
17.1 |  | 1.47
17.2 |  | 1.5133
17.3 |  | 1.5
17.4 |  | 1.4567
17.5 |  | 1.5533
17.6 |  | 1.53
17.7 |  | 1.4867
17.8 |  | 1.5267
17.9 |  | 1.4967
18 |  | 1.4967
18.1 |  | 1.4933
18.2 |  | 1.4933
18.3 |  | 1.4767
18.4 |  | 1.52
18.5 |  | 1.5233
18.6 |  | 1.5367
18.7 |  | 1.5
18.8 |  | 1.4933
18.9 |  | 1.5367
19 |  | 1.4933
19.1 |  | 1.4767
19.2 |  | 1.46
19.3 |  | 1.4767
19.4 |  | 1.4833
19.5 |  | 1.5033
19.6 |  | 1.5233
19.7 |  | 1.4767
19.8 |  | 1.51
19.9 |  | 1.5467
20 |  | 1.4967
20.1 |  | 1.54
20.2 |  | 1.4933
20.3 |  | 1.5267
20.4 |  | 1.4833
20.5 |  | 1.5033
20.6 |  | 1.4933
20.7 |  | 1.4933
20.8 |  | 1.5233
20.9 |  | 1.5033
21 |  | 1.5367
21.1 |  | 1.4467
21.2 |  | 1.4833
21.3 |  | 1.4567
21.4 |  | 1.4467
21.5 |  | 1.44
21.6 |  | 1.48
21.7 |  | 1.51
21.8 |  | 1.4733
21.9 |  | 1.46
22 |  | 1.45
22.1 |  | 1.38
22.2 |  | 1.48
22.3 |  | 1.42
22.4 |  | 1.4367
22.5 |  | 1.4133
22.6 |  | 1.4533
22.7 |  | 1.4933
22.8 |  | 1.4333
22.9 |  | 1.46
23 |  | 1.4567
23.1 |  | 1.4433
23.2 |  | 1.4833
23.3 |  | 1.4367
23.4 |  | 1.4233
23.5 |  | 1.5133
23.6 |  | 1.36
23.7 |  | 1.39
23.8 |  | 1.41
23.9 |  | 1.385
24 |  | 1.375
24.1 |  | 1.385
24.2 |  | 1.4
24.3 |  | 1.385
24.4 |  | 1.355
24.5 |  | 1.445
24.6 |  | 1.32
24.7 |  | 1.41
24.8 |  | 1.395
24.9 |  | 1.4
25 |  | 1.41
25.1 |  | 1.41
25.2 |  | 1.39
25.3 |  | 1.41
25.4 |  | 1.42
25.5 |  | 1.335
25.6 |  | 1.365
25.7 |  | 1.325
25.8 |  | 1.405
25.9 |  | 1.375
26 |  | 1.39
26.1 |  | 1.38
26.2 |  | 1.35
26.3 |  | 1.375
26.4 |  | 1.4
26.5 |  | 1.39
26.6 |  | 1.33
26.7 |  | 1.335
26.8 |  | 1.375
26.9 |  | 1.39
27 |  | 1.425
27.1 |  | 1.34
27.2 |  | 1.41
27.3 |  | 1.44
27.4 |  | 1.28
27.5 |  | 1.345
27.6 |  | 1.29
27.7 |  | 1.365
27.8 |  | 1.335
27.9 |  | 1.305
28 |  | 1.335
28.1 |  | 1.455
28.2 |  | 1.36
28.3 |  | 1.375
28.4 |  | 1.3
28.5 |  | 1.395
28.6 |  | 1.415
28.7 |  | 1.37
28.8 |  | 1.425
28.9 |  | 1.405
29
29.1
29.2
29.3
29.4
29.5
29.6
29.7
29.8
29.9
30
30.1
30.2
30.3
30.4